## AOI Parts List
P/N | DESCRIPTION | USED ON | Lead Time
HS Code: 9027904500
Cables
OXY-SEN-CCBL | Coiled sensor cable for use with the OXY-SEN Oxygen Monitor-10 feet (`3 meters) maximum. | OXY-SEN, 2000 OD | 3-5 Days
OXY-SEN-SCBL | Straight sensor cable for use with the OXY-SEN Oxygen Monitor 10 feet (~3 meters). | OXY-SEN | 3-5 Days
OXY-SEN-SCBL-3 | Straight sensor cable for use with the OXY-SEN Oxygen Monitor 3 feet (~1 meters). | OXY-SEN | 3-5 Days
OXY-SEN-SCBL-6 | Straight sensor cable for use with the OXY-SEN Oxygen Monitor 6 feet (~2 meters). | OXY-SEN | 3-5 Days
OXY-SEN-SCBL-24 | Straight sensor cable for use with the OXY-SEN Oxygen Monitor 24 feet (~8 meters). | OXY-SEN | 3-5 Days
OXY-SEN-SCBL-30 | Straight sensor cable for use with the OXY-SEN Oxygen Monitor 30 feet (~9 meters). | OXY-SEN | 3-5 Days
OXY-SEN-OCBL (4-20 cable) | Ten feet (3 meters) of output cable with mating connector for the OXY-SEN. Connects to the 4-20 mADC output connector(s). | OXY-SEN | 3-5 Days
OXY-SEN-OCBL-30 (4-20 cable) | Thirty feet (~9 meters) of output cable with mating connector for the OXY-SEN. Connects to the 4-20 mADC output connector(s). | OXY-SEN | 3-5 Days
1-RCBL | Ten feet of interconnecting for use between the Series 1000 remote sensor and electronics enclosures | 1000 | 3-5 Days
1-RCBL-ADD | Additional Interconnecting cable for use between the Series 1000 remote sensor and electronics enclosures per foot | 1000
1-HSCBL | Ten feet of interconnecting cable for use between the horn & strobe and the Series 1000 electronics enclosures | 1000 | 3-5 Days
1-HSCBL-ADD | Additional interconnecting cable for use between the horn & strobe and the Series 1000 electronics enclosures per foot | 1000
13-RCBL | Replacement 1300 Remote Cable 10 feet. | 1300 | 3-5 Days
13-RCBL-ADD | 1300 Remote Cable - Additional length per foot | 1300
13-HSCBL | Replacement 13 Horn & Strobe Cable 10 feet. | 1300 | 3-5 Days
13-HSCBL-ADD | 13 Horn & Strobe Cable - Additional length per foot. Note: The maximum length of cable for each horn and strobe is 1,000 feet if wired in parallel. If multiple horn and strobes are to be wired in series, the maximum cable length is 1,000 feet divided by the number of horn and strobes. | 1300
3-RCBL | 3000 - Remote Cable 10 feet. | 2000, 3000
3-RCBL-ADD | 3000 -Remote Cable - Additional length per foot | 2000, 3000
Calibration Accessories
ZEROAIRCAL | Calibration Fixture with mounting nut,includes tubing for connection from fixture to cylinder of calibration gas. Also includes 17 liter cylinder of gas with concentration of 20.9% oxygen and balance of Nitrogen and regulator. NOTE: Regulations require that the cylinder of gas and regulator be drop shipped to customer. USA ONLY | 1000, 1300 | 7-14 days
CFN | Calibration Fixture Option | 1000, 1300 | 3-5 Days
Filters
SS-4TF-2 | Swagelok - High Capacity Sample Filter- 316 stainless steel (SS) body with 316 SS filter element. Recommended when particles are >5 microns. The filter is equipped with 1/4" compression fittings. (Old P/N:295S, 395S) | 2000, 2500, 2510, 2520, 3000, 3500, 3510, 3520, DO NOT USE FOR ZRO2000 | 3-5 Days
AFM20 | Coalescing Filter-Filter with aluminum housing. Recommended with samples con•taining a very light mist and particles > 30 microns. (Old P/N: 2CF, 3CF) | 2000, 2500, 2510, 2520, 3000, 3500, 3510, 3520 | 3-5 Days
SS-4TF-2-H | Hoke - High Capacity Sample Filter - 316 stainless steel (SS) body with 316 SS filter element. Recommended when particles are >5 microns. The filter is equipped with 1/4" compression fittings. (Old P/N:295S, 395S) | 2000, 2500, 2510, 2520, 3000, 3500, 3510, 3520, DO NOT USE FOR ZRO2000 | 3-5 Days
SS-FBX | Swagelok - Spare Filter Elements for SS-4TF-2 (Old P/N: 2FBX, 3FBX) | 2000, 2500, 2510, 2520, 3000, 3500, 3510, 3520 | 3-5 Days
AFM-FE | Spare Filter Elements for the AFM20 (Old P/N: 2CFE, 3CFE) | 2000, 2500, 2510, 2520, 3000, 3500, 3510, 3520 | 3-5 Days
SS-FBX-H | Hoke - Spare Filter Elements for SS-4TF-2-H (Old P/N: 2FBX, 3FBX) | 2000, 2500, 2510, 2520, 3000, 3500, 3510, 3520 | 3-5 Days
CF-AL | Replacement filter element for 95A1/4 (Blue) aluminum filter. 300°F (150°C) Max, 'B'=99.99% Gas Filtration at 0.01um, 'Q' Solids and Trace liquids (Low Temp). for use with 95A filter body (Old P/N: 3CF-AL) | 2000, 2500, 2510, 2520, 3000, 3500, 3510, 3520 | 3-5 Days
Flowmeters
FLM-UNIVERSAL | New Part Number: CAT-FLM-UNIVERSAL (Replaces [7] exisiting p/n: FLM, FLM-QC-QC, FLM-PNL-QC-QC, FLM-QC-QCE, FLM-2C-QC, FLM-QC-2C, FLM-2C-2C) REQUIRES ASSEMBLY | 2000, 2500, 2510, 2520, 3000, 3500, 3510, 3520 | 3-5 days
FLMC-UNIVERSAL | New Part Number: CAT-FLMC-UNIVERSAL (Replaces [7] exisiting p/n: FLMC, FLMC-QC-QC, FLMC-PNL-QC-QC, FLMC-QC-QCE, FLMC-2C-QC, FLMC-QC-2C, FLMC-2C-2C) REQUIRES ASSEMBLY | 2000, 2500, 2510, 2520, 3000, 3500, 3510, 3520 | 3-5 days
Power Supplies
13-PS | Horn & Strobe auxiliary power supply (Univ. AC to 12V @2.1A) | 13-H&S | Call factory
PS-24-23K | UL/ETL rated 24VDC AC/DC external power supply | 2000, 3000 | Call factory
PS-24-OXY | UL/ETL rated 24VDC AC/DC external power supply | OXY-SEN | Call factory
UACWW-12 | Power Supply, Desktop, Universal Input (90-264V), 12V @ >= 1A with 2.1 x 5.5 mm Ctr. Pos. for Battery Charger | 2520, 3520 | 3-5 Days
Pressure Regulators
PR-100 | Pressure Regulator- Aluminum body with a maximum pressure input of 100 psig (7.03kg/cm2 ) together with a stainless-steel needle valve. (Old P/N: 2LPRV, 3LPRV, ZR- LPR) | 2000, 2500, 2510, 2520, 3000, 3500, 3510, 3520, ZRO2000 | 3-5 Days
PR-250 | Pressure Regulator- Aluminum body with a maximum pressure input of 250 psig (17.57 kg/cm2 ) and an adjustable outlet pressure range of O to 5 psig (0 to 0.35 kg/cm2) together with a stainless-steel needle valve. (Old P/N: 2LPR-250, 3LPR-250, ZR-LPR-250) | 2000, 2500, 2510, 2520, 3000, 3500, 3510, 3520, ZRO2000 | Call factory
PR-3000 | Pressure Regulator-Stainless steel pressure regulator with a 3,000 psig (211 kg/ cm2) inlet capacity and an adjustable outlet pressure range of Oto 5 psig (0 to 0.35 kg/cm2) together with a stainless steel needle valve (does not include indicating gauge) (Old P/N: 2PRR, 3PPR, ZR-PPR) | 2000, 2500, 2510, 2520, 3000, 3500, 3510, 3520, ZRO2000 | Call factory
Pumps
PMP-12 | Sample pump - Identical to the PMP-24 with the exception that the pump is powered from 12VDC. (Old P/N: 2PMP- 12) | 2520, 3520, 2000 w/battery, 3000 w/battery | 3-5 Days
PMP-24 | Sample Pump-For applications when the sample pressure is from 12 psia (827 mbar) to 14.9 psia (1027 mbar). Maximum sample line limit is 25 feet (7 .6 meters). When mounted to rear of instrument, the overall rating for the analyzer enclosure is general purpose, NEMA 1. Powered from 24 VDC. (Old P/N: 2PMP-24, 3PMP-24, ZR-PMP) | 2000, 2510, 3000, 3510, ZRO2000 | 3-5 Days
PMP-24-WR1 | Replacement 24 VDC Pump Wire ready - 9 inch leads 3 wires in one 4-inch heat shrink (Universal Power Supply Instruments or 24VDC instruments) (Old P/N: 2PMP-24, 3PMP-24, ZR-PMP) | 2000, 2510, 3000, 3510 | 3-5 Days
PMP-24-CVP | 24VDC Pump with integrated flow adjustment (Old P/N: 2PMP-CVP) | 2510 | 3-5 Days
PMP-115 | Replacement Pump - Identical to the PMP-24 with the exception that the pump is powered from 110 VAC, 50-60 Hz. (Old P/N: 2PMP-115, 3PMP-115) | 2000, 2510, 3000, 3510 | 3-5 Days
PMP-115-WR1 | 115VAC Pump Wire ready - 9-inch leads with 4-inch heat shrink (For 115VAC Instruments) (Old P/N: 2PMP-115, 3PMP-115) | 2000, 2510, 3000, 3510 | 3-5 Days
PMP-220 | Legacy Replacement Pump- Identical to the PMP-24 with the exception that the pump is powered from 220 VAC, 50 HZ. (Old P/N: 2PMP-220, 3PMP-220) | 2000, 2510, 3000, 3510 | 3-5 Days
PMP-220-WR1 | 220VAC Pump Wire ready - 9-inch leads with 4-inch heat shrink (Old P/N: 2PMP-220, 3PMP-220) | 2000, 2510, 3000, 3510 | 3-5 Days
Sensor Replacements
OXY-SEN-2SN | Replacement sensor for the OXY-SEN Percent Oxygen Monitor. | OXY-SEN | 3-5 Days
1SEN | Replacement Sensor for the Series 1000 and 1300 Percent Monitors | 1000, 1300 | 3-5 Days
2SEN | Replacement Sensor for the Series 2XXX Percent Oxygen Analyzer. Note: When a replacement or spare sensor is ordered, the measuring range(s) of the instrument must be included | 2000, 2500, 2510, 2520 | 3-5 Days
3SEN | Replacement Sensor for the Series 3XXX Trace Oxygen Analyzers and Transmitters | 3000, 3500, 3510, 3520 | 3-5 Days
3SEN-CO2 | Replacement Sensor for the Series 3XXX Trace Oxygen Analyzers and Transmitters -Carbon Dioxide Resistant | 3000, 3500, 3510, 3520 | 3-5 Days
ZR-SEN | Replacement Sensor for the ZrO2000 | ZRO2000
Sensor Housings
OXY-SEN-GF-UNIVERSAL | New Part Number: CAT-OXYSEN-GF-UNIVERSAL (Replaces [3] exisiting p/n: OXY-SEN-GF-05, OXY-SEN-GFC, OXY-SEN-GF) REQUIRES ASSEMBLY | OXY-SEN, 2000 OD | 3-5 Days
3SENHSE | Replacement sensor housing for the Series 3000 BTP models includes valves and fittings, no sensor. (Old P/N: 3-SEN-HSE) | 3000 | 7-14 Days
3SENHSE-STD | Replacement sensor housing for the Series 3000 BTP models includes valves and fittings, with 3SEN sensor. | 3000 | 7-14 Days
3SENHSE-CO2 | Replacement sensor housing for the Series 3000 BTP models includes valves and fittings, with 3SEN- CO2 resistant sensor. | 3000 | 7-14 Days
3SENHSE-PNL-VCR | Replacement sensor housing for the Series 3000 Panel Mount models includes valves and VCR fittings, no sensor. | 3000 | 7-14 Days
3SENHSE-PNL-VCR-STD | Replacement sensor housing for the Series 3000 Panel Mount models includes valves and VCR fittings, includes standard 3SEN sensor. | 3000 | 7-14 Days
3SENHSE-PNL-VCR-CO2 | Replacement sensor housing for the Series 3000 Panel Mount models includes valves and VCR fittings, includes CO2 resistant 3SEN-CO2 sensor. | 3000 | 7-14 Days
3SENHSE-35 | Replacement sensor housing for the Series 3500/3510 Trace Oxygen Analyzer includes valves and fittings, no sensor. | 3500, 3510 | 7-14 Days
3SENHSE-35-STD | Replacement sensor housing for the Series 3500/3510 Trace Oxygen Analyzer includes valves and fittings, with 3SEN sensor. | 3500, 3510 | 7-14 Days
3SENHSE-35-CO2 | Replacement sensor housing for the Series 3500/3510 Trace Oxygen Analyzer includes valves and fittings, with 3SEN-CO2 resistant sensor. | 3500, 3510 | 7-14 Days
Switches
LOFLO-SW | Low sample flow switch used to alert users if the sample flow has dropped below 0.1 liters per minute (Old P/N: 2- LoFlo, 3-LoFlo) | 2000, 3000 | Call factory
Tubing
TUBE-1 | Tubing, Polyurethane (Clear) 6.35mm (0.25") OD x 4.23mm (0.166") ID, Thinner wall (0.084") (Old P/N: TIUB07C-XX) Price per foot.
3CC-1 | Eight-foot length of coiled 1/4 " OD stainless steel tubing for sample cooling loop. Compression fittings are on both ends. |  | Call Factory
3CC-2 | Four-foot length of coiled 1/4 " OD stainless steel tubing for sample cooling loop. Compression fitting on one end. |  | Call Factory
2CC-8 | Eight-foot length of coiled 1/4" OD copper tubing used to cool the sample from a maximum of 120 degrees C to ambient. Supplied with compression fittings on both ends and one quick connect adapter. |  | Call Factory
Valves
NV-SS-2C-2C | Stainless Steel Flow Control Needle (Old P/N: 2FLV, 3FLV, ZR-FLV) | 2000, 2500, 2510, 2520, 3000, 3500, 3510, 3520 | 3-5 days
3-SOL-E-24 | Pair of 24VDC Valves that together with a PLC or other device can be programmed to isolate the oxygen sensor | 3000, 3510 | 3-5 Days
3-SOL-E-110 | Pair of 110VDC Valves that together with a PLC or other device can be programmed to isolate the oxygen sensor | 3000, 3510 | 3-5 Days
3-SOL-E-220 | Pair of 220VDC Valves that together with a PLC or other device can be programmed to isolate the oxygen sensor | 3000, 3510 | 3-5 Days
3-W-SOL-E-24 | One 3-way 24VDC Valve | 2000, 3000, 3510 | Call factory
B&B | Manual Block & Bleed Valve | 3000, 3500, 3510, 3520 | Call factory
Miscellaneous
13-RSE | Remote Oxygen Enclosure with sensor (up to 2 per unit) includes 10 feet of interconnecting cable. Additional cable (13-RCBL-ADD) is $2 per foot. | 1300 | 2 Weeks
13-H&S | Horn & Strobe Up to 8 per unit (over 4 each require power supply) includes 10 feet of interconnecting cable. Additional cable (13-HSCBL-ADD) is $2 per foot. | 1300 | 3-5 Days
1-H&S | Horn & Strobe with 10 feet of Cable | 1000, 2000,3000 | 3-5 Days
CASE-LD1 | Light duty instrument carrying case (not suitable to be used with land/air transportation companies). | 2000, 2500, 2510, 2520, 3000, 3500, 3510, 3520 | Call factory
Effective Date: 01/01/2021 Lead Times Subject to Change Without Notice