## Contents
| Effective Date: 4/1/2022 All Prices and Lead Times Subject to Change Without Notice |  | Instrument Price Increase | Parts Price Increase | Effective Date
Series OXY-SEN | OXY-SEN Oxygen Monitor with a single range of 0-100% and is available in AC or DC powered versions. The enclosure is designed to be flush mounted onto a vertical surface such as an instrument panel, glove box, hypoxic chamber, etc. The general-purpose enclosure is fabricated from steel and painted with a baked-on finish. The OXY-SEN is equipped with a 3-1/2 digit front panel liquid crystal display. |  | 1.05 | 1.08 | 4/1/2022
Series 1000 | Series 1000 O2 Monitor with a local sensor is a microprocessor-controlled instrument with a range of 0-30% and is AC powered. Oxygen values are displayed on an easy-to-read, 10.2 mm (0.4”) high, 4-1/2 digit liquid crystal display (LCD). It also includes a 4-20mADC and 0-2VDC, plus RS232 outputs. Supports only one sensor. |  |  |  | Effective Date: 4/1/2022 All Prices Subject to Change Without Notice
Series 1300 | The Series 1300 is a digitally-controlled instrument with a measuring range of 0-30% and is available in AC or DC powered versions. Oxygen values are displayed to the nearest tenth of a percent on a high contrast front panel liquid crystal display (LCD). The monitor is housed in a resilient polycarbonate, wall mountable general purpose enclosure. Supports multiple sensors.
Series 2000 | Series 2000 Percent Oxygen Analyzer with three alarm relays, instrument status alarm relay, digital display, audible alarm, visual alarm indicators, NEMA 1 enclosure, 4-20 mADC, and 0-2 VDC analog outputs includes RS232. Available in AC or DC powered versions.
Series 2500 | The Series 2500 Percent Oxygen Transmitter is a true loop powered (14-32 VDC) percent oxygen transmitter. The Series 2500 enclosure is made from durable polycarbonate, and is rated for NEMA 4 (IP 66) service (may change with the addition of certain optional equipment). A 4-20 mADC Output is provided.
Series 2510 | The Series 2510 Percent Oxygen Transmitter is an AC or 24VDC powered percent oxygen transmitter. The Series 2510 enclosure is made from durable polycarbonate, and is rated for NEMA 4 (IP 66) service (may change with the addition of certain optional equipment). A 4-20 mADC Output is provided.
Series 2520 | The Series 2520 Portable Percent Oxygen Analyzer is a light-weight, easy-to-use analyzer. The Series 2520 Portable Percent Oxygen Analyzer is equipped with liquid crystal display, built-in NICAD batteries, and a universal AC adapter that provides the ability to recharge the NICAD batteries even while powering the analyzer from the adapter.
Series 3000 | SSeries 3000 Trace Oxygen Analyzer with three alarm relays, instrument status alarm relay, digital display, audible alarm, visual alarm indicators, NEMA 1 enclosure with manual sensor isolation valves, 4-20 mADC, and 0-2 VDC analog outputs includes RS232. Available in AC or DC powered versions.
Series 3500 | The Series 3500 Trace Oxygen Transmitter is a true loop powered (14-32 VDC) trace oxygen transmitter. The Series 3500 enclosure is made from durable polycarbonate, and is rated for NEMA 4 (IP 66) service (may change with the addition of certain optional equipment). Equipped with manual sensor isolation valves. A 4-20 mADC Output is provided.
Series 3510 | The Series 3510 Trace Oxygen Transmitter is an AC or 24VDC powered trace oxygen transmitter. The Series 3510 enclosure is made from durable polycarbonate, and is rated for NEMA 4 (IP 66) service (may change with the addition of certain optional equipment). Equipped with manual sensor isolation valves. A 4-20 mADC Output is provided.
Series 3520 | The Series 3520 Portable Trace Oxygen Analyzer is a light-weight, easy-to-use analyzer. The Series 3520 Portable Trace Oxygen Analyzer is equipped with liquid crystal display, built-in NICAD batteries, and a universal AC adapter that provides the ability to recharge the NICAD batteries even while powering the analyzer from the adapter. Equipped with manual isolation valves.
Series ZrO2 | Zr02000 Fast Response Analyzer - ZrO2000 has a measuring range of 0.1 PPM to 100%. The non- depleting sensor used in the Series ZrO2000 Fast Response Oxygen Analyzer is a zirconium type that exhibits fast response times. Input voltage 90-264 VAC, 50 to 60Hz.
Accessories and Replacements
| EURO CONVERSION RATE | 1.1819

## Series OXY-SEN
P/N | QTY | DESCRIPTION | INTERCO TRANSFER PRICE | INTERCO TRANSFER PRICE - EXTENDED | Lead Time
CAT-OXY-SEN-2-F |  | OXY-SEN Oxygen Monitor with a single range of 0-100%. The enclosure is designed to be flush mounted onto a vertical surface such as an instrument panel, glove box, hypoxic chamber, etc. The general-purpose enclosure is fabricated from steel and painted with a baked-on finish. Power is 115/230 VAC/50-60Hz with a six-foot (~2 meter) power cord supplied. The OXY-SEN is equipped with a 3-1/2 digit front panel liquid crystal display. The oxygen sensor is equipped with a threaded end for ease of installation. Ten feet (~3 meters) of interconnecting sensor cable is included with a plug-in jack to the electronics. This version of the OXY-SEN includes a 4-20mADC analog output over either a range of 0-100% oxygen or 0-25% oxygen. | #REF! | #REF! | 3 Weeks
Warranty: 2-year electronics and 1-year sensor– CE Certification
5-3/4 in.(146.05 mm) Width, 5-1/2 in.(139.70 mm) Height, 1-1/4 in.(31.75 mm) Depth. Weight <2lbs (0.907kg) Note: All dimensions and weights are without optional equipment. Dimensions of Sensor: 1.85 in.(47 mm) Height, 0.9 in.(22.86 mm) Depth.
HS Code: 9027803100
CAT-OXY-SEN-2-F-24 |  | OXY-SEN Oxygen Monitor with a single range of 0-100%. This item is identical to the OXY-SEN-2-F with one exception. This version is powered from 24 VDC. Optional UL/ETL approved external power supply available separately. | #REF! | #REF! | 3 Weeks
CAT-OXY-SEN-2-F-10 |  | OXY-SEN Oxygen Monitor with a single range of 0-100%. This item is identical to the OXY-SEN-2-F with one exception. This version of the OXY- SEN includes a 0-10V analog output over either a range of 0-100% oxygen or 0-25% oxygen. | #REF! | #REF! | 3 Weeks
CAT-OXY-SEN-2-F-24-10 |  | OXY-SEN Oxygen Monitor with a single range of 0-100%. This item is identical to the OXY-SEN-2-F with two exceptions. This version is powered from 24 VDC and includes a 0-10V analog output over either a range of 0- 100% oxygen or 0-25% oxygen. Optional UL/ETL approved external power supply available separately. | #REF! | #REF! | 3 Weeks
Accessories and Replacements
CAT-OXY-SEN-GF-UNIVERSAL |  | New Part Number: CAT-OXYSEN-GF-UNIVERSAL (Replaces [3] exisiting p/n: OXY-SEN-GF-05, OXY-SEN-GFC, OXY-SEN-GF) REQUIRES ASSEMBLY | #REF! | #REF! | 7-14 Days
CAT-OXY-SEN-CCBL |  | Coiled sensor cable for use with the OXY-SEN Oxygen Monitor-10 feet (`3 meters) maximum. | #REF! | #REF! | 7-14 Days
CAT-OXY-SEN-SCBL |  | Straight sensor cable for use with the OXY-SEN Oxygen Monitor 10 feet (~3 meters). | #REF! | #REF! | 7-14 Days
CAT-OXY-SEN-SCBL-3 |  | Straight sensor cable for use with the OXY-SEN Oxygen Monitor 3 feet (~1 meters). | #REF! | #REF! | 7-14 Days
CAT-OXY-SEN-SCBL-6 |  | Straight sensor cable for use with the OXY-SEN Oxygen Monitor 6 feet (~2 meters). | #REF! | #REF! | 7-14 Days
CAT-OXY-SEN-SCBL-24 |  | Straight sensor cable for use with the OXY-SEN Oxygen Monitor 24 feet (~8 meters). | #REF! | #REF! | 7-14 Days
CAT-OXY-SEN-SCBL-30 |  | Straight sensor cable for use with the OXY-SEN Oxygen Monitor 30 feet (~9 meters). | #REF! | #REF! | 7-14 Days
CAT-OXY-SEN-OCBL |  | Ten feet (3 meters) of output cable with mating connector for the OXY-SEN. Connects to the 4-20 mADC output connector(s). | #REF! | #REF! | 7-14 Days
CAT-OXY-SEN-OCBL-30 |  | Thirty feet (~9 meters) of output cable with mating connector for the OXY- SEN. Connects to the 4-20 mADC output connector(s). | #REF! | #REF! | 7-14 Days
CAT-OXY-SEN-2SN |  | Replacement sensor for the OXY-SEN Oxygen Monitor. | #REF! | #REF! | 3-5 Days
CAT-PS-24-OXY |  | UL/ETL rated 24VDC AC/DC external power supply | #REF! | #REF! | Call factory
|  |  | TOTAL | #REF!
#REF!
NOTE: Accessories and Replacement Prices controlled by Accessories and Replacement Sheet
Effective Date: 4/1/2022 All Prices and Lead Times Subject to Change Without Notice

## Series 1000
P/N | QTY | DESCRIPTION | INTERCO TRANSFER PRICE | INTERCO TRANSFER PRICE - EXTENDED | Lead Time
The Series 1000 has been removed from our product offering to new customers. For existing customers who may have contractual obligations we still offer it but attempt to move them to the Series 1300 which has more features for less money. --- AVAILABLE FOR US CUSTOMERS ONLY---
CAT-SERIES-1000L |  | Series 1000 O2 Monitor with a local sensor is a microprocessor-controlled instrument with a range of 0-30%. It is powered a Universal AC (90-264VAC) power supply. Oxygen values are displayed on an easy-to-read, 10.2 mm (0.4”) high, 4-1/2 digit liquid crystal display (LCD). It also includes a 4-20mADC and 0-2VDC. Supports only one sensor. | #REF! | #REF! | 4 Weeks
CAT-SERIES-1000R |  | Series 1000 O2 Monitor with a remote. Includes a remote sensor in a NEMA 1 enclosure with 10 feet of interconnecting cable. Supports only one sensor. | #REF! | #REF! | 4 Weeks
Warranty: Three years-includes both sensor and electronics.
3.5 in (90.1mm) depth, 6.3 in (159.mm) width, 10.8 in (274.9mm) height. Weight 3.2 lbs (1.45 kg). All dimensions and weights are without optional equipment.
HS Code: 9027803100
HORN & STROBE ANNUNCIATOR(S) OPTIONS
CAT-1-H&S |  | Horn & Strobe with 10 feet of Cable | #REF! | #REF! | 7-14 Days
CAT-1-HSCBL-ADD |  | Additional interconnecting cable for use between the horn & strobe and the electronics enclosures per foot | #REF! | #REF! | -
MISCELLANEOUS OPTIONS
CAT-232 |  | RS-232 Digital Output Option | #REF! | #REF! | -
CAT-485 |  | RS-485 Digital Output Option | #REF! | #REF! | -
Accessories and Replacements
CAT-CFN |  | Calibration Fixture Option | #REF! | #REF! | 7-14 Days
CAT-1BATSPR |  | Replacement 16 cell battery pack for discontinuted battery backup units | #REF! | #REF! | 7-14 days
CAT-1BATSPRTAN |  | Pair of flat profile replacement 8 cell battery packs for discontinued battery backup units. | #REF! | #REF! | 7-14 days
CAT-1SEN |  | Replacement sensor for the Series 1000 and Series 1300 | #REF! | #REF! | 3-5 Days
|  |  | TOTAL | #REF!
#REF!
NOTE: Accessories and Replacement Prices controlled by Accessories and Replacement Sheet
Effective Date: 4/1/2022 All Prices and Lead Times Subject to Change Without Notice

## Series 1300
P/N | QTY | DESCRIPTION | INTERCO TRANSFER PRICE | INTERCO TRANSFER PRICE - EXTENDED | Lead Time
Warranty: Three years-includes both sensor and electronics.
3.5 in (90.1mm) depth, 6.3 in (159.mm) width, 10.8 in (274.9mm) height. Weight 3.2 lbs (1.45 kg). All dimensions and weights are without optional equipment. HS Code: 9027803100
CAT-SERIES-1300 |  | SERIES 1300 OXYGEN DEFICIENCY MONITOR - WITH LOCAL SENSOR. Universal AC (90-264 VAC) with RS232, 3 sensor ready, 4 H&S ready. | #REF! |  | 3.5 Weeks
CAT-SERIES-1300-NOL |  | SERIES 1300 OXYGEN DEFICIENCY MONITOR - NO LOCAL SENSOR. Universal AC (90-264 VAC) with RS232, 3 sensor ready, 4 H&S ready. (MUST SELECT AT LEAST ONE REMOTE SENSOR: PN:13-RSE) | #REF! |  | 3.5 Weeks
CAT-SERIES-1300-BATT |  | SERIES 1300 OXYGEN DEFICIENCY MONITOR with Battery Backup - WITH LOCAL SENSOR. Universal AC (90-264 VAC) with RS232, 3 sensor ready, 4 H&S ready. | #REF! |  | 4 Weeks
CAT-SERIES-1300-NOL-BATT |  | SERIES 1300 OXYGEN DEFICIENCY MONITOR with Battery Backup - NO LOCAL SENSOR. Universal AC (90-264 VAC) with RS232, 3 sensor ready, 4 H&S ready. (MUST SELECT AT LEAST ONE REMOTE SENSOR: PN: 13-RSE) | #REF! |  | 4 Weeks
CAT-SERIES-1300-24V |  | SERIES 1300 OXYGEN DEFICIENCY MONITOR - WITH LOCAL SENSOR. 18-36 VDC (24 VDC nominal) with RS232, 3 sensor ready, 4 H&S ready. | #REF! |  | 3.5 Weeks
CAT-SERIES-1300-24V-NOL |  | SERIES 1300 OXYGEN DEFICIENCY MONITOR - NO LOCAL SENSOR. 18-36 VDC (24 VDC nominal) with RS232, 3 sensor ready, 4 H&S ready. (MUST SELECT AT LEAST ONE REMOTE SENSOR: PN: 13- RSE) | #REF! |  | 3.5 Weeks
CAT-SERIES-1300-24V-BATT |  | SERIES 1300 OXYGEN DEFICIENCY MONITOR with Battery Backup - WITH LOCAL SENSOR. 18-36 VDC (24 VDC nominal) with RS232, 3 sensor ready, 4 H&S ready. | #REF! |  | 4 Weeks
CAT-SERIES-1300-24V-NOL-BATT |  | SERIES 1300 OXYGEN DEFICIENCY MONITOR with Battery Backup - NO LOCAL SENSOR. 18-36 VDC (24 VDC nominal) with RS232, 3 sensor ready, 4 H&S ready. (MUST SELECT AT LEAST ONE REMOTE SENSOR: PN: 13- RSE) | #REF! |  | 4 Weeks
SENSOR OPTIONS
CAT-13-RSE |  | Remote Oxygen Enclosure with sensor (up to 2 per unit) includes 10 feet of interconnecting cable. Additional cable (13-RCBL-ADD). | #REF! | #REF! | 2 Weeks
CAT-13-RCBL-ADD |  | 1300 Remote Cable - Additional length per foot | #REF! | #REF! | -
HORN & STROBE ANNUNCIATOR(S) OPTIONS
CAT-13-H&S |  | Horn & Strobe Up to 8 per unit (over 4 each require power supply) includes 10 feet of interconnecting cable. Additional cable (13-HSCBL-ADD). | #REF! | #REF! | 7-14 Days
CAT-13-HSCBL-ADD |  | 13 Horn & Strobe Cable - Additional length per foot. Note: The maximum length of cable for each horn and strobe is 1,000 feet if wired in parallel. If multiple horn and strobes are to be wired in series, the maximum cable length is 1,000 feet divided by the number of horn and strobes. | #REF! | #REF! | -
CAT-13-PS |  | Horn & Strobe auxiliary power supply (Univ. Ac to 12V @2.1A) | #REF! | #REF! | Call factory
Accessories and Replacements
CAT-CFN |  | Calibration Fixture Option | #REF! | #REF! | 7-14 Days
CAT-13-RCBL |  | Replacement 1300 Remote Cable 10 feet. Additional cable (13-RCBL-ADD). | #REF! | #REF! | 7-14 Days
CAT-13-RCBL-ADD |  | 1300 Remote Cable - Additional length per foot | #REF! | #REF! | -
CAT-13-HSCBL |  | 13 Horn & Strobe Cable 10 feet. Additional cable (13-HSCBL-ADD). | #REF! | #REF! | 7-14 Days
CAT-13-HSCBL-ADD |  | 13 Horn & Strobe Cable - Additional length per foot. Note: The maximum length of cable for each horn and strobe is 1,000 feet if wired in parallel. If multiple horn and strobes are to be wired in series, the maximum cable length is 1,000 feet divided by the number of horn and strobes. | #REF! | #REF! | -
CAT-13-RE |  | Replacement remote enclosure with electronics, w/o sensor, includes 10 feet of interconnecting cable. Additional cable (13-RCBL-ADD). | #REF! | #REF! | 2 Weeks
CAT-13-BATT |  | Replacement Battery Pack for battery unit. | #REF! | #REF! | 7-14 days
CAT-1SEN |  | Replacement sensor for the Series 1000 and Series 1300 | #REF! | #REF! | 3-5 Days
|  |  | TOTAL | #REF!
#REF!
Note: Some Option and Accessories and Replacement Price are controlled by the Accessories and Replacement Sheet.
Effective Date: 4/1/2022 All Prices and Lead Times Subject to Change Without Notice

## Series 2000
| P/N | QTY | CODE | DESCRIPTION | INTERCO TRANSFER PRICE | INTERCO TRANSFER PRICE - EXTENDED | Selected Configuration Option | Configuration Description Options | Lead Time
Series | 2000 | 1 | 2000 | Series 2000 Percent Oxygen Analyzer Base Model with three alarm relays, instrument status alarm relay, digital display, audible alarm, visual alarm indicators, NEMA 1 enclosure, 4-20 mADC, and 0-2 VDC analog outputs. | #REF! | #REF! | Series 2000 Percent Oxygen Analyzer with three alarm relays, instrument status alarm relay, digital display, audible alarm, visual alarm indicators. |  | 5 Weeks
Warranty: 2-year electronics and 1-year sensor
Dimensions and Weight: 9.45 in. (240.5mm) length, 6.50 in. (165.1mm) width, 6.20 in. (157.5mm) depth. Weight 11lbs (4.98 kg). Note: all dimensions and weights are without optional equipment.
HS Code: 9027803100
Range | - |  |  | Oxygen Range Options
| Select One |  | F | Auto Multi-Range 0-10/25/100 Percent (Recommended for A, B, C) | #REF! | #REF! |  | "F" Auto Multi-Range 0-10/25/100 Percent. | -
|  |  | G | Auto Multi-Range 0-5/10/25 Percent (Recommend for B, C, D) | #REF! | #REF! |  | "G" Auto Multi-Range 0-5/10/25 Percent.
|  |  | H | Auto Multi-Range 0-1/10/25 Percent | #REF! | #REF! |  | "H" Auto Multi-Range 0-1/10/25 Percent. | -
|  |  | A | Single Range 0-100 Percent (Recommend F instead) | #REF! | #REF! |  | "A" Single Range 0-100 Percent. | -
|  |  | B | Single Range 0-25 Percent (Recommend F or G instead) | #REF! | #REF! |  | "B" Single Range 0-25 Percent. | -
|  |  | C | Single Range 0-10 Percent (Recommend F or G instead) | #REF! | #REF! |  | "C" Single Range 0-10 Percent. | -
|  |  | D | Single Range 0-5 Percent (Recommend G instead) | #REF! | #REF! |  | "D" Single Range 0-5 Percent. | -
Power | Select One |  |  | Input Power Options
|  |  | U | Universal AC (90-264 VAC) - Replaces 115VAC and 230VAC | #REF! | #REF! |  | Powered by universal AC (90-264VAC). | -
|  |  | A | 24 VDC - Optional UL/ETL approved external power supply available separately | #REF! | #REF! |  | Powered by 24VDC - Optional UL/ETL approved external power supply available separately. | -
Mechanical | Select One |  |  | Mechanical Configurations
|  |  | BTP | Benchtop Portable | #REF! | #REF! |  | Features a benchtop portable enclosure with carry handle. | -
|  |  | WMT | Wall Mount | #REF! | #REF! |  | Features a wall mount enclosure. | -
|  |  | PNL | Panel Mount | #REF! | #REF! |  | Features a panel mount enclosure with panel mount hardware. | -
|  |  | BTR | Benchtop Remote | #REF! | #REF! |  | Features the main instrument in a benchtop portable enclosure and the remote in a NEMA1 enclosure. | Call Factory
|  |  | PNR | Panel Mount Remote | #REF! | #REF! |  | Features the main instrument in a panel mount enclosure with panel mount hardware and the remote in a NEMA 1 enclosure. | Call Factory
|  |  | BTX | Benchtop Explosion Proof Remote | #REF! | #REF! |  | Features the main instrument in a benchtop portable enclosure and the remote in a NEMA7 enclosure which is Class. I. Div. 1&2 Groups B,C &D; Class. II. Div. 1&2 Groups E,F & G; Class. III compliant. | Call Factory
|  |  | PTX | Panel Mount Explosion Proof Remote | #REF! | #REF! |  | Features the main instrument in a panel mount enclosure with panel mount hardware and the remote in a NEMA7 enclosure which is Class. I. Div. 1&2 Groups B,C &D; Class. II. Div. 1&2 Groups E,F & G; Class. III compliant. | Call Factory
|  |  | EXX | Explosion Proof (Electronics and Sensor in One enclosure) | #REF! | #REF! |  | Features the electronics and sensor mounted in a NEMA 7 enclosure which is Class. I. Div. 1&2 Groups B,C &D; Class. II. Div. 1&2 Groups E,F & G; Class. III compliant. | Call Factory
Sample Connectors | - |  |  | Sample Connectors
| Select One |  | X | Standard Connectors - Use this unless you have a required output | #REF! | #REF! |  | Includes standard connectors on the sample outlet | -
|  |  | 1 | 1/4" stainless steel compression fittings – output | #REF! | #REF! |  | Includes 1/4" stainless steel compression fittings on the sample outlet | -
|  |  | 2 | Quick connect fittings 1/4" OD flex tubing – output | #REF! | #REF! |  | Includes quick connect fittings for 1/4" OD flex tubing on the sample outlet | -
Filter | Select One |  |  | Filter
|  |  | X | None | #REF! | #REF! |  | ; no filter | -
|  |  | H | High Capacity Particulate (SS-4TF-2) with 1/4" Compression Input | #REF! | #REF! |  | ; a high capacity particulate filter with 1/4" compression fittings on the sample inlet | -
|  |  | C | Coalescing Filter (AFM20) with 1/4" Compression Input | #REF! | #REF! |  | ; a coalescing filter with 1/4" compression fittings on the sample inlet | -
Regulator | Select One |  |  | Regulator
|  |  | X | None | #REF! | #REF! |  | ; no regulator | -
|  |  | R | PR-100 with Needle Valve with 1/4" Compression Input | #REF! | #REF! |  | ; a pressure regulator (max 100 psi) with a stainless steel needle valve with 1/4" compression fitting on the sample inlet | -
|  |  | M | PR-250 with Needle Valve with 1/4" Compression Input | #REF! | #REF! |  | ; a pressure regulator (max 250 psi) with a stainless steel needle valve with 1/4" compression fitting on the sample inlet | -
|  |  | H | PR - 3000 with Needle Valve wiht 1/4" Compression Input | #REF! | #REF! |  | ; a pressure regulator (max 3000 psi) with a stainless steel needle valve with 1/4" compression fitting on the sample inlet | -
|  |  | N | Needle Valve Only (NV-SS-2C-2C) with 1/4" Compression Input | #REF! | #REF! |  | ; a stainless steel needle valve with 1/4" compression fitting on the sample inlet | -
Flowmeter | Select One |  |  | Flowmeter
|  |  | X | None | #REF! | #REF! |  | ; no flowmeter | -
|  |  | M | No Control (FLM-XX-XX) - Use with Regulator | #REF! | #REF! |  | ; a flowmeter without a control valve on the sample outlet | -
|  |  | V | With Control (FLMC-XX-XX) - Use with Pump, not Regulator | #REF! | #REF! |  | ; a flowmeter with a control valve on the sample outlet | -
Pump | Select One |  |  | Pump
|  |  | X | None | #REF! | #REF! |  | ; no sample pump | -
|  |  | A | 24VDC (PMP-24) - DO NOT SELECT FOR OPEN DIFFUSER | #REF! | #REF! |  | ; a 24vdc sample pump | -
|  |  |  | It is not recommended to use a Regulator and Pump on the same instrument. If necessary, extreme caution needs to be exercised not to pressurize the sensor. | #REF! | #REF!
|  |  | B | 12VDC (PMP-12) | 270.375 | 0 |  | ; a 12vdc sample pump
Solenoids | X |  |  | Solenoids
|  | 1 | X | None | #REF! | #REF! |  | ; no solenoids | -
Sensor | X |  |  | Sensor
|  | 1 | X | Standard (2SEN) | #REF! | #REF! |  |  | -
Special | - |  |  | Special
| Select One |  | XX | None | #REF! | #REF! |  |  | -
|  |  | OD | Open diffuser - OXY-SEN sensor with cable - DO NOT SELECT SAMPLE CONNECTORS, REGULATORS, FILTERS, FLOWMETERS OR PUMPS | #REF! | #REF! |  | Includes open diffuser OXY-SEN sensor with 10 foot coiled cable. | -
|  |  | R4 | RS485 Serial Communication | #REF! | #REF! |  | Includes RS485 digital comm. | 6 Weeks
|  |  | R2 | RS232 Serial Communication | #REF! | #REF! |  | Includes RS232 digital comm. | 6 Weeks
|  |  | 4C | 1/4" SS Compression Input | #REF! | #REF! |  | Includes 1/4" compression fitting on sample inlet. | -
|  |  | HD | Heavy Duty 4" Blue Filter with 1/4" Compression Input | #REF! | #REF! |  | Includes heavy duty 4" blue filter with 1/4" compression fitting on the sample inlet. | 6 Weeks
|  |  |  | Enter Special Code | #REF! | #REF!
Output | - |  |  | Output
| X | 1 | X | Standard 4-20mA and 0-2VDC | #REF! | #REF! | . Also includes a standard 4-20mADC and 0-2vdc analog outputs. | . Also includes a standard 4-20mADC and 0-2vdc analog outputs.
|  | 4 | If the number to the left is less than 13, please select one from each option above.
| P/N: | CAT-2000-Select OneSelect OneSelect One-Select OneSelect OneSelect OneSelect OneSelect OneXX-Select One-X |  |  | TOTAL | #REF!
| Configuration Description: |  |  | Series 2000 Percent Oxygen Analyzer with three alarm relays, instrument status alarm relay, digital display, audible alarm, visual alarm indicators. . Also includes a standard 4-20mADC and 0-2vdc analog outputs. Warranty: 2-year electronics and 1-year sensor | #REF!
Note: Some Option Prices are controlled by the Accessories and Replacement Sheet.
Effective Date: 4/1/2022 All Prices and Lead Times Subject to Change Without Notice
* Rounded to the nearest dollar
Note on E81: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Add EXX option 8/6/2020

## Series 2500
| P/N | QTY | CODE | DESCRIPTION | Selected Configuration Option | Configuration Description Options | Lead Time
Series | 2500 | 1 | 2500 | The Series 2500 Percent Oxygen Transmitter is a true loop powered (14-32 VDC) percent oxygen transmitter. The Series 2500 enclosure is made from durable polycarbonate, and is rated for NEMA 4 (IP 66) service (may change with the addition of certain optional equipment). A 4-20 mADC output is provided. | The Series 2500 Loop Powered Percent Oxygen Transmitter. |  | 4 Weeks
Warranty: 2-year electronics and 1-year sensor
Dimensions and Weight: 6.5 in. (165.1 mm) height, 7.0 in. (177.8 mm) width, 3.9 in.(99.06 mm) depth. Weight 1.35 lbs (0.361 kg) Note: All dimensions and weights are without optional equipment.
HS Code: 9027803100
Range | - |  |  | Oxygen Range Options
| Select One |  | C | 0-10/100.0 Percent Switch Selectable (Calibrated and shipped on the 0- 10 percent range, 4-20mA Output scaled based upon switch selection.) Replaces the previous “S” range. |  | "C" 0-10/100.0 Percent Switch Selectable Range (Calibrated and shipped on the 0- 10 percent range, 4-20mA Output scaled based upon switch selection.) | -
|  |  | D | 0-25/100.0 Percent Switch Selectable (Calibrated and shipped on the 0- 25 percent range, 4-20mA Output scaled based upon switch selection.) |  | "D" 0-25/100.0 Percent Switch Selectable Range (Calibrated and shipped on the 0- 25 percent range, 4-20mA Output scaled based upon switch selection.) | -
|  |  | E | 0-50/100.0 Percent Switch Selectable (Calibrated and shipped on the 0- 50 percent range, 4-20mA Output scaled based upon switch selection.) |  | "E" 0-50/100.0 Percent Switch Selectable Range (Calibrated and shipped on the 0- 50 percent range, 4-20mA Output scaled based upon switch selection.) | -
|  |  | F | 0-10/100.0 Percent Switch Selectable (Calibrated and shipped on the 0- 100 percent range, 4-20mA Output scaled based upon switch selection.) |  | "F" 0-10/100.0 Percent Switch Selectable Range (Calibrated and shipped on the 0- 100 percent range, 4-20mA Output scaled based upon switch selection.) | -
|  |  | A | 0-2/100.0 Percent Switch Selectable (Calibrated and shipped on the 0-2 percent range, 4-20mA Output scaled based upon switch selection.) |  | "A" 0-2/100.0 Percent Switch Selectable Range (Calibrated and shipped on the 0-2 percent range, 4-20mA Output scaled based upon switch selection.) | -
|  |  | B | 0-5/100.0 Percent Switch Selectable (Calibrated and shipped on the 0-5 percent range, 4-20mA Output scaled based upon switch selection.) |  | "B" 0-5/100.0 Percent Switch Selectable Range (Calibrated and shipped on the 0-5 percent range, 4-20mA Output scaled based upon switch selection.) | -
Power | L |  |  | Input Power Options
|  | 1 | L | Loop Powered (14-32vdc) | Loop powered (14-32vdc - provided by user). | Loop powered (14-32vdc - provided by user). | -
Mechanical | Select One |  |  | Mechanical Configurations
|  |  | STD | Standard NEMA 4 without options. |  | Features a standard enclosure. | -
|  |  | NM7 | NEMA 7 Enclosure (sample connectors are 1/4" compression - select standard connectors below) |  | Features a NEMA7 enclosure which is Class. I. Div. 1&2 Groups B,C &D; Class. II. Div. 1&2 Groups E,F & G; Class. III compliant. | 7 Weeks
Sample Connectors | - |  |  | Sample Connectors
| Select One |  | X | Standard Connectors - Use this unless you have a required output |  | Includes standard connectors on the sample outlet | -
|  |  | 1 | 1/4" stainless steel compression fittings - output |  | Includes 1/4" stainless steel compression fittings on the sample outlet | -
|  |  | 2 | Quick connect fittings 1/4" OD flex tubing - output |  | Includes quick connect fittings for 1/4" OD flex tubing on the sample outlet | -
Filter | Select One |  |  | Filter
|  |  | X | None |  | ; no filter | -
|  |  | H | High Capacity Particulate (SS-4TF-2) with 1/4" Compression Input |  | ; a high capacity particulate filter with 1/4" compression fittings on the sample inlet | -
|  |  | C | Coalescing Filter (AFM20) with 1/4" Compression Input |  | ; a coalescing filter with 1/4" compression fittings on the sample inlet | -
Regulator | Select One |  |  | Regulator
|  |  | X | None |  | ; no regulator | -
|  |  | R | PR-100 with Needle Valve with 1/4" Compression Input |  | ; a pressure regulator (max 100 psi) with a stainless steel needle valve with 1/4" compression fitting on the sample inlet | -
|  |  | M | PR-250 with Needle Valve with 1/4" Compression Input |  | ; a pressure regulator (max 250 psi) with a stainless steel needle valve with 1/4" compression fitting on the sample inlet | -
|  |  | H | PR - 3000 with Needle Valve with 1/4" Compression Input |  | ; a pressure regulator (max 3000 psi) with a stainless steel needle valve with 1/4" compression fitting on the sample inlet | -
|  |  | N | Needle Valve Only (NV-SS-2C-2C) with 1/4" Compression Input |  | ; a stainless steel needle valve with 1/4" compression fitting on the sample inlet | -
Flowmeter | Select One |  |  | Flowmeter
|  |  | X | None |  | ; no flowmeter | -
|  |  | M | No Control (FLM-XX-XX) - Use for Regulator |  | ; a flowmeter without a control valve on the sample outlet | -
|  |  | V | With Control (FLMC-XX-XX) - Not recommended with Regulator |  | ; a flowmeter with a control valve on the sample outlet | -
Pump | X |  |  | Pump
|  | 1 | X | None |  |  | -
; 24vdc sample pump
; 115vac sample pump
; 230vac sample pump
Solenoids | X |  |  | Solenoids
|  | 1 | X | None |  |  | -
Sensor | X |  |  | Sensor
|  | 1 | X | Standard (2SEN) |  |  | -
Special | - |  |  | Special
| Select One |  | XX | None |  |  | -
|  |  | 4C | 1/4" SS Compression Input |  | ; 1/4" compression fitting on sample inlet | -
|  |  | HD | Heavy Duty Filter 4" Blue |  | ; includes heavy duty 4" blue filter with 1/4" compression fitting on the sample inlet | 6 Weeks
Output | - |  |  | Output
| X | 1 | X | Standard 4-20mA | . Also includes a 4-20mADC analog output. | . Also includes a 4-20mADC analog output.
|  | 6 | If the number to the left is less than 13, please select one from each option.
| P/N: | CAT-2500-Select OneLSelect One-Select OneSelect OneSelect OneSelect OneXXX-Select One-X
| Configuration Description: |  |  | The Series 2500 Loop Powered Percent Oxygen Transmitter. Loop powered (14-32vdc - provided by user). . Also includes a 4-20mADC analog output. Warranty: 2-year electronics and 1-year sensor
Note: Some Option Prices are controlled by the Accessories and Replacement Sheet.
Effective Date: 4/1/2022 All Prices and Lead Times Subject to Change Without Notice
* Rounded to the nearest dollar

## Series 2510
| P/N | QTY | CODE | DESCRIPTION | INTERCO TRANSFER PRICE | INTERCO TRANSFER PRICE - EXTENDED | Selected Configuration Option | Configuration Description Options | Lead Time
Series | 2510 | 1 | 2510 | The Series 2510 Percent Oxygen Transmitter is an AC or 24VDC powered percent oxygen transmitter. The Series 2510 enclosure is made from durable polycarbonate, and is rated for NEMA 4 (IP 66) service (may change with the addition of certain optional equipment). A 4-20 mADC Output is provided. | #REF! | #REF! | The Series 2510 Percent Oxygen Transmitter. |  | 4 Weeks
Warranty: 2-year electronics and 1-year sensor
Dimensions and Weight: 6.5 in. (165.1 mm) height, 7.0 in. (177.8 mm) width, 3.9 in.(99.06 mm) depth. Weight 2.1 lbs (0.95 kg) Note: All dimensions and weights are without optional equipment.
HS Code: 9027803100
Range | - |  |  | Oxygen Range Options
| Select One |  | C | 0-10/100.0 Percent Switch Selectable (Calibrated and shipped on the 0- 10 percent range, 4-20mA Output scaled based upon switch selection.) Replaces the previous “S” range. | #REF! | #REF! |  | "C" 0-10/100.0 Percent Switch Selectable Range (Calibrated and shipped on the 0- 10 percent range, 4-20mA Output scaled based upon switch selection.) | -
|  |  | D | 0-25/100.0 Percent Switch Selectable (Calibrated and shipped on the 0- 25 percent range, 4-20mA Output scaled based upon switch selection.) | #REF! | #REF! |  | "D" 0-25/100.0 Percent Switch Selectable Range (Calibrated and shipped on the 0- 25 percent range, 4-20mA Output scaled based upon switch selection.) | -
|  |  | E | 0-50/100.0 Percent Switch Selectable (Calibrated and shipped on the 0- 50 percent range, 4-20mA Output scaled based upon switch selection.) | #REF! | #REF! |  | "E" 0-50/100.0 Percent Switch Selectable Range (Calibrated and shipped on the 0- 50 percent range, 4-20mA Output scaled based upon switch selection.) | -
|  |  | F | 0-10/100.0 Percent Switch Selectable (Calibrated and shipped on the 0- 100 percent range, 4-20mA Output scaled based upon switch selection.) | #REF! | #REF! |  | "F" 0-10/100.0 Percent Switch Selectable Range (Calibrated and shipped on the 0- 100 percent range, 4-20mA Output scaled based upon switch selection.) | -
|  |  | A | 0-2/100.0 Percent Switch Selectable (Calibrated and shipped on the 0-2 percent range, 4-20mA Output scaled based upon switch selection.) | #REF! | #REF! |  | "A" 0-2/100.0 Percent Switch Selectable Range (Calibrated and shipped on the 0-2 percent range, 4-20mA Output scaled based upon switch selection.) | -
|  |  | B | 0-5/100.0 Percent Switch Selectable (Calibrated and shipped on the 0-5 percent range, 4-20mA Output scaled based upon switch selection.) | #REF! | #REF! |  | "B" 0-5/100.0 Percent Switch Selectable Range (Calibrated and shipped on the 0-5 percent range, 4-20mA Output scaled based upon switch selection.) | -
Power | Select One |  |  | Input Power Options
|  |  | A | 24VDC Input | #REF! | #REF! |  | Powered by 24VDC input. | -
|  |  | C | 115VAC Input – TO BE DISCONTINUED PENDING UNIVERSAL | #REF! | #REF! | Select One | Powered by 115VAC. | -
|  |  | D | 230VAC Input – TO BE DISCONTINUED PENDING UNIVERSAL | #REF! | #REF! | Select One | Powered by 230VAC. | -
|  |  | U | Universal 90-264VDC Input - PENDING
Mechanical | Select One |  |  | Mechanical Configurations
|  |  | STD | Standard NEMA 4 without options | #REF! | #REF! |  | Features a standard enclosure. | -
|  |  | NM7 | NEMA 7 Enclosure (sample connectors are 1/4" compression - select standard connectors below) | #REF! | #REF! |  | Features a NEMA7 enclosure which is Class. I. Div. 1&2 Groups B,C &D; Class. II. Div. 1&2 Groups E,F & G; Class. III compliant. | Call Factory
Sample Connectors | - |  |  | Sample Connectors
| Select One |  | X | Standard Connectors - Use this unless you have a required output | #REF! | #REF! |  | Includes standard connectors on the sample outlet | -
|  |  | 1 | 1/4" stainless steel compression fittings – output | #REF! | #REF! |  | Includes 1/4" stainless steel compression fittings on the sample outlet | -
|  |  | 2 | Quick connect fittings 1/4" OD flex tubing – output | #REF! | #REF! |  | Includes quick connect fittings for 1/4" OD flex tubing on the sample outlet | -
Filter | Select One |  |  | Filter
|  |  | X | None | #REF! | #REF! |  | ; no filter | -
|  |  | H | High Capacity Particulate (SS-4TF-2) with 1/4" Compression Input | #REF! | #REF! |  | ; a high capacity particulate filter with 1/4" compression fittings on the sample inlet | -
|  |  | C | Coalescing Filter (AFM20) with 1/4" Compression Input | #REF! | #REF! |  | ; a coalescing filter with 1/4" compression fittings on the sample inlet | -
Regulator | Select One |  |  | Regulator
|  |  | X | None | #REF! | #REF! |  | ; no regulator | -
|  |  | R | PR100 with Needle Valve with 1/4" Compression Input | #REF! | #REF! |  | ; a pressure regulator (max 100 psi) with a stainless steel needle valve with 1/4" compression fitting on the sample inlet | -
|  |  | M | PR-250 with Needle Valve with 1/4" Compression Input | #REF! | #REF! |  | ; a pressure regulator (max 250 psi) with a stainless steel needle valve with 1/4" compression fitting on the sample inlet | -
|  |  | H | PR - 3000 with Needle Valve with 1/4" Compression Input | #REF! | #REF! |  | ; a pressure regulator (max 3000 psi) with a stainless steel needle valve with 1/4" compression fitting on the sample inlet | -
|  |  | N | Needle Valve Only (NV-SS-2C-2C) with 1/4" Compression Input | #REF! | #REF! |  | ; a stainless steel needle valve with 1/4" compression fitting on the sample inlet | -
Flowmeter | Select One |  |  | Flowmeter
|  |  | X | None | #REF! | #REF! |  | ; no flowmeter | -
|  |  | M | No Control (FLM-XX-XX) - Use with Regulator | #REF! | #REF! |  | ; a flowmeter without a control valve on the sample outlet | -
|  |  | V | With Control (FLMC-XX-XX) - Use with Pump, not Regulator | #REF! | #REF! |  | ; a flowmeter with a control valve on the sample outlet
Pump | Select One |  |  | Pump
|  |  | X | None | #REF! | #REF! |  |  | -
|  |  | A | 24VDC (PMP-24) - Use for 24VDC input or Universal AC | #REF! | #REF! |  | ; 24vdc sample pump | -
|  |  | C | 115VAC (PMP-115) - Use for 115VAC input | #REF! | #REF! |  | ; 115vac sample pump | -
|  |  | D | 230VAC (PMP-230) - Use for 230VAC input | #REF! | #REF! |  | ; 230vac sample pump | -
|  |  |  | It is not recommended to use a Regulator and Pump on the same instrument. If necessary, extreme caution needs to be exercised not to pressurize the sensor. | #REF! | #REF!
Solenoids | Select One |  |  | Solenoids
|  |  | X | None | #REF! | #REF! |  |  | -
Sensor | X |  |  | Sensor
|  | 1 | X | Standard (2SEN) | #REF! | #REF! |  |  | -
Special | - |  |  | Special
| Select One |  | XX | None | #REF! | #REF! |  |  | -
|  |  | 4C | 1/4" SS Compression Input | #REF! | #REF! |  | ; 1/4" compression fitting on sample inlet | -
|  |  | HD | Heavy Duty Filter 4" Blue | #REF! | #REF! |  | ; includes heavy duty 4" blue filter with 1/4" compression fitting on the sample inlet | 6 Weeks
Output | - |  |  | Output
| X | 1 | X | Standard 4-20mA | #REF! | #REF! | . Also includes a 4-20mADC analog output. | . Also includes a 4-20mADC analog output. | -
|  | 3 | If the number to the left is less than 13, please select one from each option.
| P/N: | CAT-2510-Select OneSelect OneSelect One-Select OneSelect OneSelect OneSelect OneSelect OneSelect OneX-Select One-X |  |  | TOTAL | #REF!
| Configuration Description: |  |  | The Series 2510 Percent Oxygen Transmitter. . Also includes a 4-20mADC analog output. Warranty: 2-year electronics and 1-year sensor | #REF!
Note: Some Option Prices are controlled by the Accessories and Replacement Sheet.
Effective Date: 4/1/2022 All Prices and Lead Times Subject to Change Without Notice
*Rounded to the nearest dollar
Note on E79: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Added NM7 option on 8/6/2020

## Series 2520
| P/N | QTY | CODE | DESCRIPTION | INTERCO TRANSFER PRICE | INTERCO TRANSFER PRICE - EXTENDED | Selected Configuration Option | Configuration Description Options | Lead Time
Series | 2520 | 1 | 2520 | The Series 2520 Portable Percent Oxygen Analyzer is a light-weight, easy-to-use analyzer. The Series 2520 Portable Percent Oxygen Analyzer is equipped with liquid crystal display, built-in NICAD batteries, and a universal AC adapter that provides the ability tor echarge the NICAD batteries even while powering the analyzer from the adapter. | #REF! | #REF! | The Series 2520 Portable Percent Oxygen Analyzer is equipped with liquid crystal display, built-in NICAD batteries, and a universal AC adapter that provides the ability to recharge the NICAD batteries even while powering the analyzer from the adapter. |  | 4 Weeks
Warranty: 2-year electronics and 1-year sensor
Dimensions and Weight: 5.8 in. (147.3 mm) Height, 6.7 in. (170.2 mm) Width, 3.4 in. (86.4 mm) Depth. Weight 4.0 lbs (1.81 kg) Note: All dimensions and weights are without optional equipment.
HS Code: 9027803100
Range | - |  |  | Oxygen Range Options
| Select One |  | C | 0-10 Percent (Displays 0-19.99, calibrated in the 0-10 percent range) | #REF! | #REF! |  | "C" 0-10 Percent (Displays 0-19.99, calibrated in the 0-10 percent range). | -
|  |  | G | 0-20 Percent (Displays 0-19.99, calibrated in the 0-20 percent range) | #REF! | #REF! |  | "G" 0-20 Percent (Displays 0-19.99, calibrated in the 0-20 percent range). | -
|  |  | D | 0-25 Percent (Displays 0-100.0, calibrated in the 0-25 percent range) | #REF! | #REF! |  | "D" 0-25 Percent (Displays 0-100.0, calibrated in the 0-25 percent range). | -
|  |  | E | 0-50 Percent (Displays 0-100.0, calibrated in the 0-50 percent range) | #REF! | #REF! |  | "E" 0-50 Percent (Displays 0-100.0, calibrated in the 0-50 percent range). | -
|  |  | F | 0-100 Percent (Displays 0-100.0, calibrated in the 0-100 percent range) | #REF! | #REF! |  | "F" 0-100 Percent (Displays 0-100.0, calibrated in the 0-100 percent range). | -
|  |  | A | 0-2 Percent (Displays 0-19.99, calibrated in the 0-2 percent range) | #REF! | #REF! |  | "A" 0-2 Percent (Displays 0-19.99, calibrated in the 0-2 percent range) | -
|  |  | B | 0-5 Percent (Displays 0-19.99, calibrated in the 0-5 percent range) | #REF! | #REF! |  | "B" 0-5 Percent (Displays 0-19.99, calibrated in the 0-5 percent range). | -
Power | U |  |  | Input Power Options
|  | 1 | U | Built-in NICAD batteries, and a universal AC adapter | #REF! | #REF! |  |  | -
Mechanical | STD |  |  | Mechanical Configurations
|  | 1 | STD | Standard Enclosure made from durable polycarbonate which is rated for NEMA 1 | #REF! | #REF! | Features a standard durable polycarbonate enclosure rated for NEMA1. | Features a standard durable polycarbonate enclosure rated for NEMA1. | -
Sample Connectors | - |  |  | Sample Connectors
| Select One |  | X | Standard Connectors - Use this unless you have a required output | #REF! | #REF! |  | Includes standard connectors on the sample outlet | -
|  |  | 1 | 1/4" stainless steel compression fittings – output | #REF! | #REF! |  | Includes 1/4" stainless steel compression fittings on the sample outlet | -
|  |  | 2 | Quick connect fittings 1/4" OD flex tubing – output | #REF! | #REF! |  | Includes quick connect fittings for 1/4" OD flex tubing on the sample outlet | -
Filter | Select One |  |  | Filter
|  |  | X | None | #REF! | #REF! |  | ; no filter | -
|  |  | H | High Capacity Particulate (SS-4TF-2) with 1/4" Compression Input | #REF! | #REF! |  | ; a high capacity particulate filter with 1/4" compression fittings on the sample inlet | -
|  |  | C | Coalescing Filter (AFM20) with 1/4" Compression Input | #REF! | #REF! |  | ; a coalescing filter with 1/4" compression fittings on the sample inlet | -
Regulator | Select One |  |  | Regulator
|  |  | X | None | #REF! | #REF! |  | ; no regulator | -
|  |  | R | PR-100 with Needle Valve with 1/4" Compression Input | #REF! | #REF! |  | ; a pressure regulator (max 100 psi) with a stainless steel needle valve with 1/4" compression fitting on the sample inlet | -
|  |  | M | PR-250 with Needle Valve with 1/4" Compression Input | #REF! | #REF! |  | ; a pressure regulator (max 250 psi) with a stainless steel needle valve with 1/4" compression fitting on the sample inlet | -
|  |  | H | PR-3000 with Needle Valve with 1/4" Compression Input | #REF! | #REF! |  | ; a pressure regulator (max 3000 psi) with a stainless steel needle valve with 1/4" compression fitting on the sample inlet | -
|  |  | N | Needle Valve Only (NV-SS-2C-2C) with 1/4" Compression Input | #REF! | #REF! |  | ; a stainless steel needle valve with 1/4" compression fitting on the sample inlet | -
Flowmeter | Select One |  |  | Flowmeter
|  |  | X | None | #REF! | #REF! |  | ; no flowmeter | -
|  |  | M | No Control (FLM-XX-XX) - Use with Regulator | #REF! | #REF! |  | ; a flowmeter without a control valve on the sample outlet | -
|  |  | V | With Control (FLMC-XX-XX) - Use with Pump, not Regulator | #REF! | #REF! |  | ; a flowmeter with a control valve on the sample outlet | -
Pump | Select One |  |  | Pump
|  |  | X | None | #REF! | #REF! |  |  | -
|  |  | B | 12VDC (PMP-12) | #REF! | #REF! |  | ; a 12vdc sample pump | -
|  |  |  | If adding pump select flowmeter with control. If regulator and pump are selected use flowmeter without control to avoid over pressurizing the sensor. | #REF! | #REF!
Solenoids | X |  |  | Solenoids
|  | 1 | X | None | #REF! | #REF! |  |  | -
Sensor | X |  |  | Sensor
|  | 1 | X | Standard (2SEN) | #REF! | #REF! |  |  | -
Special | - |  |  | Special
| Select One |  | XX | None | #REF! | #REF! |  |  | -
|  |  | 4C | 1/4" SS Compression Input | #REF! | #REF! |  | ; 1/4" compression fitting on sample inlet | -
|  |  | HD | Heavy Duty Filter 4" Blue | #REF! | #REF! |  | ; includes heavy duty 4" blue filter with 1/4" compression fitting on the sample inlet | 6 Weeks
Output | - |  |  | Output
| X | 1 | X | None | #REF! | #REF! | . No analog outputs. | . No analog outputs.
#REF!
|  | 6 | If the number to the left is less than 13, please select one from each option. |  | #REF!
| P/N: | CAT-2520-Select OneUSTD-Select OneSelect OneSelect OneSelect OneSelect OneXX-Select One-X |  |  | TOTAL | #REF!
| Configuration Description: |  |  | The Series 2520 Portable Percent Oxygen Analyzer is equipped with liquid crystal display, built-in NICAD batteries, and a universal AC adapter that provides the ability to recharge the NICAD batteries even while powering the analyzer from the adapter. Features a standard durable polycarbonate enclosure rated for NEMA1. . No analog outputs. Warranty: 2-year electronics and 1-year sensor | #REF!
Note: Some Option Prices are controlled by the Accessories and Replacement Sheet.
Effective Date: 4/1/2022 All Prices and Lead Times Subject to Change Without Notice
*Rounded to nearest dollar

## Series 3000
| P/N | QTY | CODE | DESCRIPTION | INTERCO TRANSFER PRICE | INTERCO TRANSFER PRICE - EXTENDED | Selected Configuration Option | Configuration Description Options | Lead Time
Series | 3000 | 1 | 3000 | Series 3000 Trace Oxygen Analyzer Base Model with three alarm relays, instrument status alarm relay, digital display, audible alarm, visual alarm indicators, NEMA 1 enclosure with manual sensor isolation valves, 4-20 mADC, and 0-2 VDC analog outputs. | #REF! | #REF! | Series 3000 Trace Oxygen Analyzer with three alarm relays, instrument status alarm relay, digital display, audible alarm, visual alarm indicators, and two manual sensor isolation valves. |  | 5 Weeks
Warranty: 2-year electronics and 1-year sensor
Dimensions and Weight: 9.45 in. (240.5 mm) height, 6.50 in. (165.1 mm) width, 6.20 inches (157.5 mm) length. Weight 7.2 lbs (3.26 lg) Note: All dimensions and weights are without optional equipment.
HS Code: 9027803100
Range | - |  |  | Oxygen Range Options
| Select One |  | G | Auto Multi-range 0-10/100/1,000 PPM (Recommended for B, C, D, E) | #REF! | #REF! |  | "G" Auto Multi-range 0-10/100/1,000 PPM. | -
|  |  | F | Auto Multi-range 0-50/500/5,000 PPM (Recommended for A, D) | #REF! | #REF! |  | "F" Auto Multi-range 0-50/500/5,000 PPM. | -
|  |  | Y | Auto Multi-range 0-100/1,000/10,000 PPM (Recommended for B, C, Z) | #REF! | #REF! |  | "Y" Auto Multi-range 0-100/1,000/10,000 PPM. | -
|  |  | I | Auto Multi-range 0-1/10/100 PPM | #REF! | #REF! |  | "I"Auto Multi-range 0-1/10/100 PPM. | -
|  |  | H | Auto Multi-range 0-5/50/500 PPM | #REF! | #REF! |  | "H" Auto Multi-range 0-5/50/500 PPM. | -
|  |  | E | Single Range 0-10 PPM (Recommend G) | #REF! | #REF! |  | "E" Single Range 0-10 PPM. | -
|  |  | D | Single Range 0-50 PPM (Recommend F or G) | #REF! | #REF! |  | "D" Single Range 0-50 PPM. | -
|  |  | C | Single Range 0-100 PPM (Recommend G or Y) | #REF! | #REF! |  | "C" Single Range 0-100 PPM. | -
|  |  | B | Single Range 0-1,000 PPM (Recommend G or Y) | #REF! | #REF! |  | "B" Single Range 0-1,000 PPM. | -
|  |  | A | Single Range 0-5,000 PPM (Recommend F or Y) | #REF! | #REF! |  | "A" Single Range 0-5,000 PPM. | -
|  |  | Z | Single Range 0-10,000 PPM (Recommend Y) | #REF! | #REF! |  | "Z" Single Range 0-10,000 PPM. | -
Power | Select One |  |  | Input Power Options
|  |  | U | Universal AC (90-264 VAC) - Replaces 115VAC and 230VAC | #REF! | #REF! |  | Powered by universal AC (90-264VAC). | -
|  |  | A | 24 VDC - Optional UL/ETL approved external power supply available separately | #REF! | #REF! |  | Powered by 24VDC - Optional UL/ETL approved external power supply available separately. | -
Mechanical | Select One |  |  | Mechanical Configurations
|  |  | BTP | Benchtop Portable | #REF! | #REF! |  | Features a benchtop portable enclosure with carry handle. | -
|  |  | WMT | Wall Mount | #REF! | #REF! |  | Features a wall mount enclosure. | -
|  |  | PNL | Panel Mount | #REF! | #REF! |  | Features a panel mount enclosure with panel mount hardware. | -
|  |  | EXX | Explosion Proof (Electronics and Sensor in One enclosure) | #REF! | #REF! |  | Features the electronics and sensor mounted in a NEMA 7 enclosure which is Class. I. Div. 1&2 Groups B,C &D; Class. II. Div. 1&2 Groups E,F & G; Class. III compliant. | Call Factory
Sample Connectors | - |  |  | Sample Connectors
| Select One |  | X | Standard Connectors - Use this unless you have a required output | #REF! | #REF! |  | Includes standard connectors on the sample outlet | -
|  |  | 1 | 1/4" stainless steel compression fittings – output | #REF! | #REF! |  | Includes 1/4" stainless steel compression fittings on the sample outlet | -
|  |  | 2 | Quick connect fittings 1/4" OD flex tubing – output | #REF! | #REF! |  | Includes quick connect fittings for 1/4" OD flex tubing on the sample outlet | -
Filter | Select One |  |  | Filter
|  |  | X | None | #REF! | #REF! |  | ; no filter | -
|  |  | H | High Capacity Particulate (SS-4TF-2) with 1/4" Compression Input | #REF! | #REF! |  | ; a high capacity particulate filter with 1/4" compression fittings on the sample inlet | -
|  |  | C | Coalescing Filter (AFM20) with 1/4" Compression Input | #REF! | #REF! |  | ; a coalescing filter with 1/4" compression fittings on the sample inlet | -
Regulator | Select One |  |  | Regulator
|  |  | X | None | #REF! | #REF! |  | ; no regulator | -
|  |  | R | PR-100 with Needle Valve with 1/4" Compression Input | #REF! | #REF! |  | ; a pressure regulator (max 100 psi) with a stainless steel needle valve with 1/4" compression fitting on the sample inlet | -
|  |  | M | PR-250 with Needle Valve with 1/4" Compression Input | #REF! | #REF! |  | ; a pressure regulator (max 250 psi) with a stainless steel needle valve with 1/4" compression fitting on the sample inlet | -
|  |  | H | PR - 3000 with Needle Valve wiht 1/4" Compression Input | #REF! | #REF! |  | ; a pressure regulator (max 3000 psi) with a stainless steel needle valve with 1/4" compression fitting on the sample inlet | -
|  |  | N | Needle Valve Only (NV-SS-2C-2C) with 1/4" Compression Input | #REF! | #REF! |  | ; a stainless steel needle valve with 1/4" compression fitting on the sample inlet | -
Flowmeter | Select One |  |  | Flowmeter
|  |  | X | None | #REF! | #REF! |  | ; no flowmeter | -
|  |  | M | No Control (FLM-XX-XX) - Use with Regulator | #REF! | #REF! |  | ; a flowmeter without a control valve on the sample outlet | -
|  |  | V | With Control (FLMC-XX-XX) - Use with Pump, not Regulator | #REF! | #REF! |  | ; a flowmeter with a control valve on the sample outlet | -
Pump | Select One |  |  | Pump
|  |  | X | None | #REF! | #REF! |  | ; no sample pump | -
|  |  | A | 24VDC (PMP-24) | #REF! | #REF! |  | ; a 24vdc sample pump | -
|  |  |  | It is not recommended to use a Regulator and Pump on the same instrument. If necessary, extreme caution needs to be exercised not to pressurize the sensor. | #REF! | #REF! |  |  | -
Solenoids | Select One |  |  | Solenoids
|  |  | X | None | #REF! | #REF! |  |  | -
|  |  | A | 24VDC Solenoids - Pair (3-SOL-E-24) | #REF! | #REF! |  | ; two 24vdc solenoid valves for quick gas exchanges | -
Sensor | Select One |  |  | Sensor
|  |  | X | Standard (3SEN) | #REF! | #REF! |  |  | -
|  |  | C | CO2 Resistant (3SEN-CO2) | #REF! | #REF! |  | ; CO2 resistant sensor | -
Special | - |  |  | Special
| Select One |  | XX | None | #REF! | #REF! |  |  | -
|  |  | BB | Block & Bleed By-pass Sampling System | #REF! | #REF! |  | Includes block & bleed by-pass sample system. | 6 Weeks
|  |  | R4 | RS485 Serial Communication | #REF! | #REF! |  | Includes RS485 digital comm. | 6 Weeks
|  |  | R2 | RS232 Serial Communication | #REF! | #REF! |  | ; Includes RS232 digital comm. | 6 Weeks
|  |  | HD | Heavy Duty 4" Blue Filter with 1/4" Compression Input | #REF! | #REF! |  | Includes heavy duty 4" blue filter with 1/4" compression fitting on the sample inlet. | 6 Weeks
Output | - |  |  | Output
| X | 1 | X | Standard 4-20mA and 0-2VDC | #REF! | #REF! | . Also includes a standard 4-20mADC and 0-2vdc analog outputs. | . Also includes a standard 4-20mADC and 0-2vdc analog outputs.
|  | 2 | If the number to the left is less than 13, please select one from each option.
| P/N: | CAT-3000-Select OneSelect OneSelect One-Select OneSelect OneSelect OneSelect OneSelect OneSelect OneSelect One-Select One-X |  |  | TOTAL | #REF!
| Configuration Description: |  |  | Series 3000 Trace Oxygen Analyzer with three alarm relays, instrument status alarm relay, digital display, audible alarm, visual alarm indicators, and two manual sensor isolation valves. . Also includes a standard 4-20mADC and 0-2vdc analog outputs. Warranty: 2-year electronics and 1-year sensor | #REF!
Note: Some Option Prices are controlled by the Accessories and Replacement Sheet.
Effective Date: 4/1/2022 All Prices and Lead Times Subject to Change Without Notice
*Rounded to the nearest dollar
Note on E79: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Added EXX option on 8/6/2020

## Series 3500
| P/N | QTY | CODE | DESCRIPTION | INTERCO TRANSFER PRICE | INTERCO TRANSFER PRICE - EXTENDED | Selected Configuration Option | Configuration Description Options | Lead Time
Series | 3500 | 1 | 3500 | The Series 3500 Trace Oxygen Transmitter is a true loop powered (14-32 VDC) trace oxygen transmitter. The Series 3500 enclosure is made from durable polycarbonate, and is rated for NEMA 4 (IP 66) service (may change with the addition of certain optional equipment). Equipped with manual sensor isolation valves. A 4-20 mADC Output is provided. | #REF! | #REF! | The Series 3500 Loop Powered Trace Oxygen Transmitter is equipped with two manual sensor isolation valves. |  | 5 Weeks
Warranty: 2-year electronics and 1-year sensor – CE Certification
Dimensions and Weight: 5.5 in (139.9 mm) height, 8.8 in (223.5 mm) width, 3.4 in (86.4 mm) deep. Weight 3.60 lbs (1.63 kg) Note: All dimensions and weights are without optional equipment.
HS Code: 9027803100
Range | - |  |  | Oxygen Range Options
| Select One |  | H | 0-19,999 PPM (Recommend for G below) | #REF! | #REF! |  | "H" 0-19,999 PPM range. | -
|  |  | F | 0-5,000 PPM | #REF! | #REF! |  | "F" 0-5,000 PPM range. | -
|  |  | E | 0-1,000 ppm | #REF! | #REF! |  | "E" 0-1,000 PPM range. | -
|  |  | D | 0-500 PPM (Recommend for C below) | #REF! | #REF! |  | "D" 0-500 PPM range. | -
|  |  | I | 0-199.9 PPM (Recommend for B below) | #REF! | #REF! |  | "I" 0-199.9 PPM range. | -
|  |  | J | 0-19.9 PPM (Recommend for A below) | #REF! | #REF! |  | "J" 0-19.9 PPM range. | -
|  |  | A | 0-10 PPM (Recommend J) | #REF! | #REF! |  | "A" 0-10 PPM range. | -
|  |  | B | 0-50 PPM (Recommend I) | #REF! | #REF! |  | "B" 0-50 PPM range. | -
|  |  | C | 0-100 PPM (Recommend D) | #REF! | #REF! |  | "C" 0-100 PPM range. | -
|  |  | G | 0-10,000 PPM (Recommend H) | #REF! | #REF! |  | "G" 0-10,000 PPM range. | -
Power | L |  |  | Input Power Options
|  | 1 | L | Loop Powered (14-32vdc) | #REF! | #REF! | Loop powered (14-32vdc - provided by user). | Loop powered (14-32vdc - provided by user). | -
Mechanical | Select One |  |  | Mechanical Configurations
|  |  | STD | Standard NEMA 4 without options. | #REF! | #REF! |  | Features a standard enclosure. | -
|  |  | NM7 | NEMA 7 Enclosure (sample connectors are 1/4" compression - select standard connectors below) | #REF! | #REF! |  | Features a NEMA7 enclosure which is Class. I. Div. 1&2 Groups B,C &D; Class. II. Div. 1&2 Groups E,F & G; Class. III compliant. | Call Factory
Sample Connectors | - |  |  | Sample Connectors
| Select One |  | X | Standard Connectors - Use this unless you have a required output | #REF! | #REF! |  | Includes standard connectors on the sample outlet | -
|  |  | 1 | 1/4" stainless steel compression fittings - output | #REF! | #REF! |  | Includes 1/4" stainless steel compression fittings on the sample outlet | -
|  |  | 2 | Quick connect fittings 1/4" OD flex tubing - output | #REF! | #REF! |  | Includes quick connect fittings for 1/4" OD flex tubing on the sample outlet | -
Filter | Select One |  |  | Filter
|  |  | X | None | #REF! | #REF! |  | ; no filter | -
|  |  | H | High Capacity Particulate (SS-4TF-2) with 1/4" Compression Input | #REF! | #REF! |  | ; a high capacity particulate filter with 1/4" compression fittings on the sample inlet | -
|  |  | C | Coalescing Filter (AFM20) with 1/4" Compression Input | #REF! | #REF! |  | ; a coalescing filter with 1/4" compression fittings on the sample inlet | -
Regulator | Select One |  |  | Regulator
|  |  | X | None | #REF! | #REF! |  | ; no regulator | -
|  |  | R | PR-100 with Needle Valve with 1/4" Compression Input | #REF! | #REF! |  | ; a pressure regulator (max 100 psi) with a stainless steel needle valve with 1/4" compression fitting on the sample inlet | -
|  |  | M | PR-250 with Needle Valve with 1/4" Compression Input | #REF! | #REF! |  | ; a pressure regulator (max 250 psi) with a stainless steel needle valve with 1/4" compression fitting on the sample inlet | -
|  |  | H | PR - 3000 with Needle Valve with 1/4" Compression Input | #REF! | #REF! |  | ; a pressure regulator (max 3000 psi) with a stainless steel needle valve with 1/4" compression fitting on the sample inlet | -
|  |  | N | Needle Valve Only (NV-SS-2C-2C) with 1/4" Compression Input | #REF! | #REF! |  | ; a stainless steel needle valve with 1/4" compression fitting on the sample inlet | -
Flowmeter | Select One |  |  | Flowmeter
|  |  | X | None | #REF! | #REF! |  | ; no flowmeter | -
|  |  | M | No Control (FLM-XX-XX) - Use for Regulator | #REF! | #REF! |  | ; a flowmeter without a control valve on the sample outlet | -
|  |  | V | With Control (FLMC-XX-XX) - Not recommended with Regulator | #REF! | #REF! |  | ; a flowmeter with a control valve on the sample outlet | -
Pump | X |  |  | Pump
|  | 1 | X | None | #REF! | #REF! |  |  | -
Solenoids | X |  |  | Solenoids
|  | 1 | X | None | #REF! | #REF! |  |  | -
Sensor | Select One |  |  | Sensor
|  |  | X | Standard (3SEN) | #REF! | #REF! |  |  | -
|  |  | C | CO2 Resistant (3SEN-CO2) | #REF! | #REF! |  | ; CO2 resistant sensor | -
Special | - |  |  | Special
| Select One |  | XX | None | #REF! | #REF! |  |  | -
|  |  | 4C | 1/4" SS Compression Input | #REF! | #REF! |  | ; 1/4" compression fitting on sample inlet | -
|  |  | HD | Heavy Duty 4" Blue Filter with 1/4" Compression Input | #REF! | #REF! |  | ; includes heavy duty 4" blue filter with 1/4" compression fitting on the sample inlet | 6 Weeks
|  |  | QC | 1/4" Quick Connect Input |  | 0 |  | ; quick connect fitting on sample inlet | -
|  |  | S1 | Larger Strain Reliefs 3/8" non-metallic TPS style | #REF! | #REF! |  | ; larger conduit strain reliefs 3/8" TPS style | -
Output | - |  |  | Output
| X | 1 | X | Standard 4-20mA | #REF! | #REF! | . Also includes a 4-20mADC analog output. | . Also includes a 4-20mADC analog output. | -
|  | 5 | If the number to the left is less than 13, please select one from each option.
| P/N: | CAT-3500-Select OneLSelect One-Select OneSelect OneSelect OneSelect OneXXSelect One-Select One-X |  |  | TOTAL | #REF!
| Configuration Description: |  |  | The Series 3500 Loop Powered Trace Oxygen Transmitter is equipped with two manual sensor isolation valves. Loop powered (14-32vdc - provided by user). . Also includes a 4-20mADC analog output.Warranty: 2-year electronics and 1-year sensor – CE Certification | #REF!
Note: Some Option Prices are controlled by the Accessories and Replacement Sheet.
Effective Date: 4/1/2022 All Prices and Lead Times Subject to Change Without Notice
*Rounded to nearest dollar

## Series 3510
| P/N | QTY | CODE | DESCRIPTION | INTERCO TRANSFER PRICE | INTERCO TRANSFER PRICE - EXTENDED | Selected Configuration Option | Configuration Description Options | Lead Time
Series | 3510 | 1 | 3510 | The Series 3510 Trace Oxygen Transmitter is an AC or 24VDC powered trace oxygen transmitter. The Series 3510 enclosure is made from durable polycarbonate, and is rated for NEMA 4 (IP 66) service (may change with the addition of certain optional equipment). Equipped with manual sensor isolation valves. A 4-20 mADC Output is provided. | #REF! | #REF! | The Series 3510 Trace Oxygen Transmitter is equipped with two manual sensor isolation valves. |  | 5 Weeks
Warranty: 2-year electronics and 1-year sensor – CE Certification
Dimensions and Weight: 5.5 in (139.9 mm) height, 8.8 in (223.5 mm) width, 3.4 in (86.4 mm) deep. Weight 4.6 lbs (2.8 kg) Note: All dimensions and weights are without optional equipment.
HS Code: 9027803100
Range | - |  |  | Oxygen Range Options
| Select One |  | H | 0-19,999 PPM (Recommend for G below) | #REF! | #REF! |  | "H" 0-19,999 PPM. | -
|  |  | F | 0-5,000 PPM | #REF! | #REF! |  | "F" 0-5,000 PPM. | -
|  |  | E | 0-1,000 ppm | #REF! | #REF! |  | "E" 0-1,000 PPM. | -
|  |  | D | 0-500 PPM (Recommend for C below) | #REF! | #REF! |  | "D" 0-500 PPM. | -
|  |  | I | 0-199.9 PPM (Recommend for B below) | #REF! | #REF! |  | "I" 0-199.9 PPM. | -
|  |  | J | 0-19.9 PPM (Recommend for A below) | #REF! | #REF! |  | "J" 0-19.9 PPM. | -
|  |  | A | 0-10 PPM (Recommend J) | #REF! | #REF! |  | "A" 0-10 PPM. | -
|  |  | B | 0-50 PPM (Recommend I) | #REF! | #REF! |  | "B" 0-50 PPM. | -
|  |  | C | 0-100 PPM (Recommend D) | #REF! | #REF! |  | "C" 0-100 PPM. | -
|  |  | G | 0-10,000 PPM (Recommend H) | #REF! | #REF! |  | "G" 0-10,000 PPM. | -
Power | Select One |  |  | Input Power Options
|  |  | A | 24VDC Input | #REF! | #REF! |  | Powered by 24VDC input. | -
|  |  | C | 115VAC Input – TO BE DISCONTINUED PENDING UNIVERSAL | #REF! | #REF! | Select One | Powered by 115VAC. | -
|  |  | D | 230VAC Input – TO BE DISCONTINUED PENDING UNIVERSAL | #REF! | #REF! | Select One | Powered by 230VAC. | -
|  |  | U | Universal 90-264VDC Input - PENDING
Mechanical | Select One |  |  | Mechanical Configurations
|  |  | STD | Standard NEMA 4 without options | #REF! | #REF! |  | Features a standard NEMA 4 (without options) enclosure. | -
|  |  | NM7 | NEMA 7 Enclosure (sample connectors are 1/4" compression - select standard connectors below) | #REF! | #REF! |  | Features a NEMA7 enclosure which is Class. I. Div. 1&2 Groups B,C &D; Class. II. Div. 1&2 Groups E,F & G; Class. III compliant. | Call Factory
Sample Connectors | - |  |  | Sample Connectors
| Select One |  | X | Standard Connectors - Use this unless you have a required output | #REF! | #REF! |  | Includes standard connectors on the sample outlet | -
|  |  | 1 | 1/4" stainless steel compression fittings – output | #REF! | #REF! |  | Includes 1/4" stainless steel compression fittings on the sample outlet | -
|  |  | 2 | Quick connect fittings 1/4" OD flex tubing – output | #REF! | #REF! |  | Includes quick connect fittings for 1/4" OD flex tubing on the sample outlet | -
Filter | Select One |  |  | Filter
|  |  | X | None | #REF! | #REF! |  | ; no filter | -
|  |  | H | High Capacity Particulate (SS-4TF-2) with 1/4" Compression Input | #REF! | #REF! |  | ; a high capacity particulate filter with 1/4" compression fittings on the sample inlet | -
|  |  | C | Coalescing Filter (AFM20) with 1/4" Compression Input | #REF! | #REF! |  | ; a coalescing filter with 1/4" compression fittings on the sample inlet | -
Regulator | Select One |  |  | Regulator
|  |  | X | None | #REF! | #REF! |  | ; no regulator | -
|  |  | R | PR100 with Needle Valve with 1/4" Compression Input | #REF! | #REF! |  | ; a pressure regulator (max 100 psi) with a stainless steel needle valve with 1/4" compression fitting on the sample inlet | -
|  |  | M | PR-250 with Needle Valve with 1/4" Compression Input | #REF! | #REF! |  | ; a pressure regulator (max 250 psi) with a stainless steel needle valve with 1/4" compression fitting on the sample inlet | -
|  |  | H | PR - 3000 with Needle Valve with 1/4" Compression Input | #REF! | #REF! |  | ; a pressure regulator (max 3000 psi) with a stainless steel needle valve with 1/4" compression fitting on the sample inlet | -
|  |  | N | Needle Valve Only (NV-SS-2C-2C) with 1/4" Compression Input | #REF! | #REF! |  | ; a stainless steel needle valve with 1/4" compression fitting on the sample inlet | -
Flowmeter | Select One |  |  | Flowmeter
|  |  | X | None | #REF! | #REF! |  | ; no flowmeter | -
|  |  | M | No Control (FLM-XX-XX) - Use with Regulator | #REF! | #REF! |  | ; a flowmeter without a control valve on the sample outlet | -
|  |  | V | With Control (FLMC-XX-XX) - Use with Pump, not Regulator | #REF! | #REF! |  | ; a flowmeter with a control valve on the sample outlet | -
Pump | Select One |  |  | Pump
|  |  | X | None | #REF! | #REF! |  |  | -
|  |  | A | 24VDC (PMP-24) - Use for 24VDC input or Universal AC | #REF! | #REF! |  | ; 24vdc sample pump | -
|  |  | C | 115VAC (PMP-115) - Use for 115VAC input | #REF! | #REF! |  | ; 115vac sample pump | -
|  |  | D | 230VAC (PMP-230) - Use for 230VAC input | #REF! | #REF! |  | ; 230vac sample pump | -
|  |  |  | It is not recommended to use a Regulator and Pump on the same instrument. If necessary, extreme caution needs to be exercised not to pressurize the sensor. | #REF! | #REF!
Solenoids | Select One |  |  | Solenoids (Not for NEMA 7)
|  |  | X | None | #REF! | #REF! |  |  | -
|  |  | A | 24VDC Solenoids - Pair (3-SOL-E-24) - Use for 24VDC input or Universal AC | #REF! | #REF! |  | ; two 24vdc solenoid valves for quick gas exchanges | -
|  |  | C | 115VAC Solenoids - Pair (3-SOL-E-115) - Use for 115VAC input | #REF! | #REF! |  | ; two 115VAC solenoid valves for quick gas exchanges | -
|  |  | D | 230VAC Solenoids - Pair (3-SOL-E-230) - Use for 230VAC input | #REF! | #REF! |  | ; two 230VAC solenoid valves for quick gas exchanges | -
Sensor | Select One |  |  | Sensor
|  |  | X | Standard (3SEN) | #REF! | #REF! |  |  | -
|  |  | C | CO2 Resistant (3SEN-CO2) | #REF! | #REF! |  | ; CO2 resistant sensor | -
Special | - |  |  | Special
| Select One |  | XX | None | #REF! | #REF! |  |  | -
|  |  | 4C | 1/4" SS Compression Input | #REF! | #REF! |  | ; 1/4" compression fitting on sample inlet | -
|  |  | HD | Heavy Duty 4" Blue Filter with 1/4" Compression Input | #REF! | #REF! |  | ; includes heavy duty 4" blue filter with 1/4" compression fitting on the sample inlet | 6 Weeks
|  |  | QC | 1/4" Quick Connect Input |  | 0 |  | ; quick connect fitting on sample inlet | -
|  |  | S1 | Larger Strain Reliefs 3/8" non-metallic TPS style | #REF! | #REF! |  | ; larger conduit strain reliefs 3/8" TPS style | -
|  |  | NP | Narrow Profile Plumbing | #REF! | #REF! |  | ; narrow profile plumbing configuration (not TPS)
Output | - |  |  | Output
| X | 1 | X | Standard 4-20mA | #REF! | #REF! | . Also includes a 4-20mADC analog output. | . Also includes a 4-20mADC analog output. | -
|  | 2 | If the number to the left is less than 13, please select one from each option.
| P/N: | CAT-3510-Select OneSelect OneSelect One-Select OneSelect OneSelect OneSelect OneSelect OneSelect OneSelect One-Select One-X |  |  | TOTAL | #REF!
| Configuration Description: |  |  | The Series 3510 Trace Oxygen Transmitter is equipped with two manual sensor isolation valves. . Also includes a 4-20mADC analog output.Warranty: 2-year electronics and 1-year sensor – CE Certification | #REF!
Note: Some Option Prices are controlled by the Accessories and Replacement Sheet.
Effective Date: 4/1/2022 All Prices and Lead Times Subject to Change Without Notice
*Rounded to the nearest dollar
Note on E79: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Added NM7 option on 8/6/2020

## Series 3520
| P/N | QTY | CODE | DESCRIPTION | INTERCO TRANSFER PRICE | INTERCO TRANSFER PRICE - EXTENDED | Selected Configuration Option | Configuration Description Options | Lead Time
Series | 3520 | 1 | 3520 | The Series 3520 Portable Trace Oxygen Analyzer is a light-weight, easy-to-use analyzer. The Series 3520 Portable Trace Oxygen Analyzer is equipped with liquid crystal display, built-in NICAD batteries, and a universal AC adapter that provides the ability to recharge the NICAD batteries even while powering the analyzer from the adapter. Equipped with manual sensor isolation valves. | #REF! | #REF! | The Series 3520 Portable Trace Oxygen Analyzer is equipped with liquid crystal display, built-in NICAD batteries, and a universal AC adapter that provides the ability to recharge the NICAD batteries even while powering the analyzer from the adapter. Includes two manual isolation valves. |  | 6 Weeks
Warranty: 2-year electronics and 1-year sensor
Dimensions and Weight: 6.5 inches (165.1 mm) height, 6.5 inches (165.1 mm) width, 7.8 inches (196.9 mm) height. Weight 4.2 lbs (1.9 kg) Note: All dimensions and weights are without optional equipment.
HS Code: 9027803100
Range | - |  |  | Oxygen Range Options
| Select One |  | C | 0-200 PPM (Displays 0-199.9, calibrated in the 0-200 ppm range) | #REF! | #REF! |  | "C" 0-200 PPM (Displays 0-199.9, calibrated in the 0-200 ppm range). | -
|  |  | I | 0-100 PPM (Displays 0-199.9, calibrated in the 0-100 ppm range) | #REF! | #REF! |  | "I" 0-100 PPM (Displays 0-199.9, calibrated in the 0-100 ppm range). | -
|  |  | D | 0-500 PPM (Displays 0-19,999, calibrated in the 0-500 ppm range) | #REF! | #REF! |  | "D" 0-500 PPM (Displays 0-19,999, calibrated in the 0-500 ppm range). | -
|  |  | E | 0-1,000 PPM (Displays 0-19,999, calibrated in the 0-1,000 ppm range) | #REF! | #REF! |  | "E" 0-1,000 PPM (Displays 0-19,999, calibrated in the 0-1,000 ppm range). | -
|  |  | F | 0-5,000 PPM (Displays 0-19,999, calibrated in the 0-5,000 ppm range) | #REF! | #REF! |  | "F" 0-5,000 PPM (Displays 0-19,999, calibrated in the 0-5,000 ppm range). | -
|  |  | G | 0-10,000 PPM (Displays 0-19,999, calibrated in the 0-10,000 ppm range) | #REF! | #REF! |  | "G" 0-10,000 PPM (Displays 0-19,999, calibrated in the 0-10,000 ppm range). | -
|  |  | H | 0-20,000 PPM (Displays 0-19,999, calibrated in the 0-20,000 ppm range) | #REF! | #REF! |  | "H" 0-20,000 PPM (Displays 0-19,999, calibrated in the 0-20,000 ppm range). | -
|  |  | A | 0-10 PPM (Displays 0-199.9, calibrated in the 0-10 ppm range) | #REF! | #REF! |  | "A" 0-10 PPM (Displays 0-199.9, calibrated in the 0-10 ppm range). | -
|  |  | B | 0-50 PPM (Displays 0-199.9, calibrated in the 0-50 ppm range) | #REF! | #REF! |  | "B" 0-50 PPM (Displays 0-199.9, calibrated in the 0-50 ppm range). | -
Power | U |  |  | Input Power Options
|  | 1 | U | Built-in NICAD batteries, and a universal AC adapter | #REF! | #REF! |  |  | -
Mechanical | STD |  |  | Mechanical Configurations
|  | 1 | STD | Standard Enclosure made from durable polycarbonate which is rated for NEMA 1 | #REF! | #REF! | Features a standard durable polycarbonate enclosure rated for NEMA1. | Features a standard durable polycarbonate enclosure rated for NEMA1. | -
Sample Connectors | - |  |  | Sample Connectors
| Select One |  | X | Standard Connectors - Use this unless you have a required output | #REF! | #REF! |  | Includes standard connectors on the sample outlet | -
|  |  | 1 | 1/4" stainless steel compression fittings – output | #REF! | #REF! |  | Includes 1/4" stainless steel compression fittings on the sample outlet | -
|  |  | 2 | Quick connect fittings 1/4" OD flex tubing – output | #REF! | #REF! |  | Includes quick connect fittings for 1/4" OD flex tubing on the sample outlet | -
Filter | Select One |  |  | Filter
|  |  | X | None | #REF! | #REF! |  | ; no filter | -
|  |  | H | High Capacity Particulate (SS-4TF-2) with 1/4" Compression Input | #REF! | #REF! |  | ; a high capacity particulate filter with 1/4" compression fittings on the sample inlet | -
|  |  | C | Coalescing Filter (AFM20) with 1/4" Compression Input | #REF! | #REF! |  | ; a coalescing filter with 1/4" compression fittings on the sample inlet | -
Regulator | Select One |  |  | Regulator
|  |  | X | None | #REF! | #REF! |  | ; no regulator | -
|  |  | R | PR-100 with Needle Valve with 1/4" Compression Input | #REF! | #REF! |  | ; a pressure regulator (max 100 psi) with a stainless steel needle valve with 1/4" compression fitting on the sample inlet | -
|  |  | M | PR-250 with Needle Valve with 1/4" Compression Input | #REF! | #REF! |  | ; a pressure regulator (max 250 psi) with a stainless steel needle valve with 1/4" compression fitting on the sample inlet | -
|  |  | H | PR-3000 with Needle Valve with 1/4" Compression Input | #REF! | #REF! |  | ; a pressure regulator (max 3000 psi) with a stainless steel needle valve with 1/4" compression fitting on the sample inlet | -
|  |  | N | Needle Valve Only (NV-SS-2C-2C) with 1/4" Compression Input | #REF! | #REF! |  | ; a stainless steel needle valve with 1/4" compression fitting on the sample inlet | -
Flowmeter | Select One |  |  | Flowmeter
|  |  | X | None | #REF! | #REF! |  | ; no flowmeter | -
|  |  | M | No Control (FLM-XX-XX) - Use with Regulator | #REF! | #REF! |  | ; a flowmeter without a control valve on the sample outlet | -
|  |  | V | With Control (FLMC-XX-XX) - Use with Pump, not Regulator | #REF! | #REF! |  | ; a flowmeter with a control valve on the sample outlet | -
Pump | Select One |  |  | Pump
|  |  | X | None | #REF! | #REF! |  |  | -
|  |  | B | 12VDC (PMP-12) | #REF! | #REF! |  | ; a 12vdc sample pump | -
|  |  |  | If adding pump select flowmeter with control. If regulator and pump are selected use flowmeter without control to avoid over pressurizing the sensor. | #REF! | #REF!
Solenoids | X |  |  | Solenoids
|  | 1 | X | None | #REF! | #REF! |  |  | -
Sensor | Select One |  |  | Sensor
|  |  | X | Standard (3SEN) | #REF! | #REF! |  |  | -
|  |  | C | CO2 Resistant (3SEN-CO2) | #REF! | #REF! |  | ; CO2 resistant sensor | -
Special | - |  |  | Special
| Select One |  | XX | None | #REF! | #REF! |  |  | -
|  |  | BB | Block & Bleed By-pass Sampling System [8-10 Weeks Lead Time] | #REF! | #REF! |  | ; block & bleed by-pass sample system | 6 Weeks
|  |  | 4C | 1/4" SS Compression Input |  | 0 |  | ; RS485 comm in place of the RS232 | -
|  |  | HD | Heavy Duty 4" Blue Filter with 1/4" Compression Input [5-7 Weeks Lead Time] | #REF! | #REF! |  | ; includes heavy duty 4" blue filter with 1/4" compression fitting on the sample inlet | 6 Weeks
|  |  | QC | 1/4" Quick Connect Input | #REF! | #REF! |  | ; quick connect fitting on sample inlet | -
Output | - |  |  | Output
| X | 1 | X | None | #REF! | #REF! | . No analog outputs. | . No analog outputs. | -
[5 empty] | #REF! | #REF!
|  | 5 | If the number to the left is less than 13, please select one from each option. |  | #REF! | #REF!
| P/N: | CAT-3520-Select OneUSTD-Select OneSelect OneSelect OneSelect OneSelect OneXSelect One-Select One-X |  |  | TOTAL | #REF!
| Configuration Description: |  |  | The Series 3520 Portable Trace Oxygen Analyzer is equipped with liquid crystal display, built-in NICAD batteries, and a universal AC adapter that provides the ability to recharge the NICAD batteries even while powering the analyzer from the adapter. Includes two manual isolation valves. Features a standard durable polycarbonate enclosure rated for NEMA1. . No analog outputs. Warranty: 2-year electronics and 1-year sensor | #REF!
Note: Some Option Prices are controlled by the Accessories and Replacement Sheet.
Effective Date: 4/1/2022 All Prices and Lead Times Subject to Change Without Notice
*Rounded to the nearest dollar

## Series ZrO2
P/N | QTY | DESCRIPTION | INTERCO TRANSFER PRICE | INTERCO TRANSFER PRICE - EXTENDED | Lead Time
The sample gas used with the ZRO2000 must not contain any hydrocarbon vapors, hydrogen, carbon monoxide, or other reducing gases.
CAT-ZR02 |  | Zr02000 Fast Response Analyzer - ZrO2000 has a measuring range of 0.1 PPM to 100%. The non- depleting sensor used in the Series ZrO2000 Fast Response Oxygen Analyzer is a zirconium type that exhibits fast response times. Input voltage 90-264 VAC, 50 to 60Hz. Two scalable analog outputs are provided, 4-20 mADC and 0-20 mADC. Included is an easy to read, six-digit backlit LCD as well as two (2) SPDT Form C contacts rated 10A @30VDC/114/240 VAC. | #REF! | #REF! | 6 Weeks
Warranty: 2-year electronics and 1-year sensor
13 inches (330 mm) - length, 10.71 inches (272 mm) - width, 6.3 inches (160 mm) – height. Note: All dimensions are without optional equipment. Add 3 inches in length for the pump. Weight 10.4 lbs (4.72 kg) with sample pump. Note: All dimensions and weights are without optional equipment.
HS Code: 9027803100
CAT-ZRO2-PMP |  | Zr02000 Fast Response Analyzer (as above) includes a factory installed sample pump system mounted on the rear of the Analyzer. To be used when sample pressure is at atmospheric pressure (not to be used when the sample is under vacuum). [Lead time, warranty and dimensions same as above.] | #REF! | #REF! | 6 Weeks
Miscellaneous Options
CAT-PR-100 |  | Low Pressure Regulator- for sample pressures less than 100 psig (7 kg/cm2) with stainless steel needle valve. This regulator is not designed for use at higher pressures or for trace oxygen measurements of less than 10 PPM. In such cases, the PR-3000 regulator should be used. | #REF! | #REF! | 7-14 Days
CAT-PR-3000 |  | High Capacity Stainless Steel Pressure Regulator- for sample pressures of up to 3000 psig (210 kg/cm2) and an adjustable outlet pressure of 0-5 psig. (0-0.35kg/cm2 ) with stainless steel needle valve. (Does not include pressure gauge.) | #REF! | #REF! | Call factory
Accessories and Replacements
CAT-PMP-24 |  | Replacement 24VDC Sample Pump | #REF! | #REF! | 7-14 Days
CAT-ZR-SEN |  | Replacement Sensor for the ZrO2000 | #REF! | #REF! | Call factory
|  |  | TOTAL | #REF!
#REF!
Note: Some Option Prices are controlled by the Accessories and Replacement Sheet.
Effective Date: 4/1/2022 All Prices and Lead Times Subject to Change Without Notice

## Accessories and Replacements
P/N | QTY | DESCRIPTION | USED ON | Lead Time
HS Code: 9027904500
Cables
CAT-OXY-SEN-CCBL |  | Coiled sensor cable for use with the OXY-SEN Oxygen Monitor-10 feet (`3 meters) maximum. | OXY-SEN, 2000 OD | 7-14 Days
CAT-OXY-SEN-SCBL |  | Straight sensor cable for use with the OXY-SEN Oxygen Monitor 10 feet (~3 meters). | OXY-SEN | 7-14 Days
CAT-OXY-SEN-SCBL-3 |  | Straight sensor cable for use with the OXY-SEN Oxygen Monitor 3 feet (~1 meters). | OXY-SEN | 7-14 Days
CAT-OXY-SEN-SCBL-6 |  | Straight sensor cable for use with the OXY-SEN Oxygen Monitor 6 feet (~2 meters). | OXY-SEN | 7-14 Days
CAT-OXY-SEN-SCBL-24 |  | Straight sensor cable for use with the OXY-SEN Oxygen Monitor 24 feet (~8 meters). | OXY-SEN | 7-14 Days
CAT-OXY-SEN-SCBL-30 |  | Straight sensor cable for use with the OXY-SEN Oxygen Monitor 30 feet (~9 meters). | OXY-SEN | 7-14 Days
CAT-OXY-SEN-OCBL |  | Ten feet (3 meters) of output cable with mating connector for the OXY-SEN. Connects to the 4-20 mADC output connector(s). | OXY-SEN | 7-14 Days
CAT-OXY-SEN-OCBL-30 |  | Thirty feet (~9 meters) of output cable with mating connector for the OXY-SEN. Connects to the 4-20 mADC output connector(s). | OXY-SEN | 7-14 Days
CAT-OXY-SEN-PCBL-30 |  | Straight 24vdc power cable for use with the OXY-SEN Oxygen Monitor 30 feet (~9 meters). | OXY-SEN | 7-14 Days
CAT-1-RCBL |  | Ten feet of interconnecting for use between the Series 1000 remote sensor and electronics enclosures | 1000 | 7-14 Days
CAT-1-RCBL-ADD |  | Additional Interconnecting cable for use between the Series 1000 remote sensor and electronics enclosures per foot | 1000 | -
CAT-1-HSCBL |  | Ten feet of interconnecting cable for use between the horn & strobe and the Series 1000 electronics enclosures | 1000 | 7-14 Days
CAT-1-HSCBL-ADD |  | Additional interconnecting cable for use between the horn & strobe and the Series 1000 electronics enclosures per foot | 1000 | -
CAT-13-RCBL |  | Replacement 1300 Remote Cable 10 feet. | 1300 | 7-14 Days
CAT-13-RCBL-ADD |  | 1300 Remote Cable - Additional length per foot | 1300 | -
CAT-13-HSCBL |  | Replacement 13 Horn & Strobe Cable 10 feet. | 1300 | 7-14 Days
CAT-13-HSCBL-ADD |  | 13 Horn & Strobe Cable - Additional length per foot. Note: The maximum length of cable for each horn and strobe is 1,000 feet if wired in parallel. If multiple horn and strobes are to be wired in series, the maximum cable length is 1,000 feet divided by the number of horn and strobes. | 1300 | -
CAT-3-RCBL |  | 3000 - Remote Cable 10 feet. | 2000, 3000 | -
CAT-3-RCBL-ADD |  | 3000 -Remote Cable - Additional length per foot | 2000, 3000 | -
300-0000518 |  | Cord, Power - 6', 18G, 3 conductor, SVT, Plug Type: UL, Unshielded, Rated 60-75 Degrees C, Black, Computer Desktop Style | 2000, 3000, ZRO | 3-5 days
Calibration Accessories
CAT-ZEROAIRCAL |  | Calibration Fixture with mounting nut,includes tubing for connection from fixture to cylinder of calibration gas. Also includes 17 liter cylinder of gas with concentration of 20.9% oxygen and balance of Nitrogen and regulator. NOTE: Regulations require that the cylinder of gas and regulator be drop shipped to customer. USA ONLY | 1000, 1300 | 7-14 days
CAT-CFN |  | Calibration Fixture Option | 1000, 1300 | 7-14 Days
Filters
CAT-SS-4TF-2 |  | Swagelok - High Capacity Sample Filter- 316 stainless steel (SS) body with 316 SS filter element. Recommended when particles are >5 microns. The filter is equipped with 1/4" compression fittings. (Old P/N:295S, 395S) | 2000, 2500, 2510, 2520, 3000, 3500, 3510, 3520, DO NOT USE FOR ZRO2000 | 7-14 Days
CAT-AFM20 |  | Coalescing Filter-Filter with aluminum housing. Recommended with samples con•taining a very light mist and particles > 30 microns. (Old P/N: 2CF, 3CF) | 2000, 2500, 2510, 2520, 3000, 3500, 3510, 3520 | 7-14 Days
CAT-SS-4TF-2-H |  | Hoke - High Capacity Sample Filter - 316 stainless steel (SS) body with 316 SS filter element. Recommended when particles are >5 microns. The filter is equipped with 1/4" compression fittings. (Old P/N:295S, 395S) | 2000, 2500, 2510, 2520, 3000, 3500, 3510, 3520, DO NOT USE FOR ZRO2000 | 7-14 Days
CAT-SS-FBX |  | Swagelok - Spare Filter Elements for SS-4TF-2 (Old P/N: 2FBX, 3FBX) | 2000, 2500, 2510, 2520, 3000, 3500, 3510, 3520 | 7-14 Days
CAT-AFM-FE |  | Spare Filter Elements for the AFM20 (Old P/N: 2CFE, 3CFE) | 2000, 2500, 2510, 2520, 3000, 3500, 3510, 3520 | 7-14 Days
CAT-SS-FBX-H |  | Hoke - Spare Filter Elements for SS-4TF-2-H (Old P/N: 2FBX, 3FBX) | 2000, 2500, 2510, 2520, 3000, 3500, 3510, 3520 | 7-14 Days
CAT-CF-AL |  | Replacement filter element for 95A1/4 (Blue) aluminum filter. 300°F (150°C) Max, 'B'=99.99% Gas Filtration at 0.01um, 'Q' Solids and Trace liquids (Low Temp). for use with 95A filter body (Old P/N: 3CF-AL) | 2000, 2500, 2510, 2520, 3000, 3500, 3510, 3520 | 7-14 Days
Flowmeters
CAT-FLM-UNIVERSAL |  | New Part Number: CAT-FLM-UNIVERSAL (Replaces [7] exisiting p/n: FLM, FLM-QC-QC, FLM-PNL-QC-QC, FLM-QC-QCE, FLM-2C-QC, FLM-QC-2C, FLM-2C-2C) REQUIRES ASSEMBLY | 2000, 2500, 2510, 2520, 3000, 3500, 3510, 3520 | 7-14 Days
CAT-FLMC-UNIVERSAL |  | New Part Number: CAT-FLMC-UNIVERSAL (Replaces [7] exisiting p/n: FLMC, FLMC-QC-QC, FLMC-PNL-QC-QC, FLMC-QC-QCE, FLMC-2C-QC, FLMC-QC-2C, FLMC-2C-2C) REQUIRES ASSEMBLY | 2000, 2500, 2510, 2520, 3000, 3500, 3510, 3520 | 7-14 Days
Power Supplies
CAT-13-PS |  | Horn & Strobe auxiliary power supply (Univ. AC to 12V @2.1A) | 13-H&S | Call factory
CAT-PS-24-23K |  | UL/ETL rated 24VDC AC/DC external power supply | 2000, 3000 | Call factory
CAT-PS-24-OXY |  | UL/ETL rated 24VDC AC/DC external power supply | OXY-SEN | Call factory
CAT-UACWW-12 |  | Power Supply, Desktop, Universal Input (90-264V), 12V @ >= 1A with 2.1 x 5.5 mm Ctr. Pos. for Battery Charger | 2520, 3520 | 7-14 Days
CAT-1BATSPR |  | Replacement 16 cell battery pack for discontinuted battery backup units | 1000 | 7-14 days
CAT-1BATSPRTAN |  | Pair of flat profile replacement 8 cell battery packs for discontinued battery backup units. | 1000 | 7-14 days
CAT-13-BATT |  | Replacement Battery Pack for battery unit. | 1300 | 7-14 days
Pressure Regulators
CAT-PR-100 |  | Pressure Regulator- Aluminum body with a maximum pressure input of 100 psig (7.03kg/cm2 ) together with a stainless-steel needle valve. (Old P/N: 2LPRV, 3LPRV, ZR- LPR) | 2000, 2500, 2510, 2520, 3000, 3500, 3510, 3520, ZRO2000 | 7-14 Days
CAT-PR-250 |  | Pressure Regulator- Aluminum body with a maximum pressure input of 250 psig (17.57 kg/cm2 ) and an adjustable outlet pressure range of O to 5 psig (0 to 0.35 kg/cm2) together with a stainless-steel needle valve. (Old P/N: 2LPR-250, 3LPR-250, ZR-LPR-250) | 2000, 2500, 2510, 2520, 3000, 3500, 3510, 3520, ZRO2000 | Call factory
CAT-PR-3000 |  | Pressure Regulator-Stainless steel pressure regulator with a 3,000 psig (211 kg/ cm2) inlet capacity and an adjustable outlet pressure range of Oto 5 psig (0 to 0.35 kg/cm2) together with a stainless steel needle valve (does not include indicating gauge) (Old P/N: 2PRR, 3PPR, ZR-PPR) | 2000, 2500, 2510, 2520, 3000, 3500, 3510, 3520, ZRO2000 | Call factory
Pumps
CAT-PMP-12 |  | Sample pump - Identical to the PMP-24 with the exception that the pump is powered from 12VDC. (Old P/N: 2PMP- 12) | 2520, 3520, 2000 w/battery, 3000 w/battery | 7-14 Days
CAT-PMP-24 |  | Sample Pump-For applications when the sample pressure is from 12 psia (827 mbar) to 14.9 psia (1027 mbar). Maximum sample line limit is 25 feet (7 .6 meters). When mounted to rear of instrument, the overall rating for the analyzer enclosure is general purpose, NEMA 1. Powered from 24 VDC. (Old P/N: 2PMP-24, 3PMP-24, ZR-PMP) | 2000, 2510, 3000, 3510, ZRO2000 | 7-14 Days
CAT-PMP-24-WR1 |  | Replacement 24 VDC Pump Wire ready - 9 inch leads 3 wires in one 4-inch heat shrink (Universal Power Supply Instruments or 24VDC instruments) (Old P/N: 2PMP-24, 3PMP-24, ZR-PMP) | 2000, 2510, 3000, 3510 | 7-14 Days
CAT-PMP-24-CVP |  | 24VDC Pump with integrated flow adjustment (Old P/N: 2PMP-CVP) | 2510 | 7-14 Days
CAT-PMP-115 |  | Replacement Pump - Identical to the PMP-24 with the exception that the pump is powered from 110 VAC, 50-60 Hz. (Old P/N: 2PMP-115, 3PMP-115) | 2000, 2510, 3000, 3510 | 7-14 Days
CAT-PMP-115-WR1 |  | 115VAC Pump Wire ready - 9-inch leads with 4-inch heat shrink (For 115VAC Instruments) (Old P/N: 2PMP-115, 3PMP-115) | 2000, 2510, 3000, 3510 | 7-14 Days
CAT-PMP-220 |  | Legacy Replacement Pump- Identical to the PMP-24 with the exception that the pump is powered from 220 VAC, 50 HZ. (Old P/N: 2PMP-220, 3PMP-220) | 2000, 2510, 3000, 3510 | 7-14 Days
CAT-PMP-220-WR1 |  | 220VAC Pump Wire ready - 9-inch leads with 4-inch heat shrink (Old P/N: 2PMP-220, 3PMP-220) | 2000, 2510, 3000, 3510 | 7-14 Days
Sensor Replacements
CAT-OXY-SEN-2SN |  | Replacement sensor for the OXY-SEN Percent Oxygen Monitor. | OXY-SEN | 3-5 Days
CAT-1SEN |  | Replacement Sensor for the Series 1000 and 1300 Percent Monitors | 1000, 1300 | 3-5 Days
CAT-2SEN |  | Replacement Sensor for the Series 2XXX Percent Oxygen Analyzer. Note: When a replacement or spare sensor is ordered, the measuring range(s) of the instrument must be included | 2000, 2500, 2510, 2520 | 3-5 Days
CAT-3SEN |  | Replacement Sensor for the Series 3XXX Trace Oxygen Analyzers and Transmitters | 3000, 3500, 3510, 3520 | 3-5 Days
CAT-3SEN-CO2 |  | Replacement Sensor for the Series 3XXX Trace Oxygen Analyzers and Transmitters -Carbon Dioxide Resistant | 3000, 3500, 3510, 3520 | 3-5 Days
CAT-ZR-SEN |  | Replacement Sensor for the ZrO2000 | ZRO2000 | Call factory
Sensor Housings
CAT-OXY-SEN-GF-UNIVERSAL |  | New Part Number: CAT-OXYSEN-GF-UNIVERSAL (Replaces [3] exisiting p/n: OXY-SEN-GF-05, OXY-SEN-GFC, OXY-SEN-GF) REQUIRES ASSEMBLY | OXY-SEN, 2000 OD | 7-14 Days
CAT-3SENHSE |  | Replacement sensor housing for the Series 3000 BTP models includes valves and fittings, no sensor. (Old P/N: 3-SEN-HSE) | 3000 | 7-14 Days
CAT-3SENHSE-STD |  | Replacement sensor housing for the Series 3000 BTP models includes valves and fittings, with 3SEN sensor. | 3000 | 7-14 Days
CAT-3SENHSE-CO2 |  | Replacement sensor housing for the Series 3000 BTP models includes valves and fittings, with 3SEN- CO2 resistant sensor. | 3000 | 7-14 Days
CAT-3SENHSE-PNL-VCR |  | Replacement sensor housing for the Series 3000 Panel Mount models includes valves and VCR fittings, no sensor. | 3000 | 7-14 Days
CAT-3SENHSE-PNL-VCR-STD |  | Replacement sensor housing for the Series 3000 Panel Mount models includes valves and VCR fittings, includes standard 3SEN sensor. | 3000 | 7-14 Days
CAT-3SENHSE-PNL-VCR-CO2 |  | Replacement sensor housing for the Series 3000 Panel Mount models includes valves and VCR fittings, includes CO2 resistant 3SEN-CO2 sensor. | 3000 | 7-14 Days
CAT-3SENHSE-35 |  | Replacement sensor housing for the Series 3500/3510 Trace Oxygen Analyzer includes valves and fittings, no sensor. | 3500, 3510 | 7-14 Days
CAT-3SENHSE-35-STD |  | Replacement sensor housing for the Series 3500/3510 Trace Oxygen Analyzer includes valves and fittings, with 3SEN sensor. | 3500, 3510 | 7-14 Days
CAT-3SENHSE-35-CO2 |  | Replacement sensor housing for the Series 3500/3510 Trace Oxygen Analyzer includes valves and fittings, with 3SEN-CO2 resistant sensor. | 3500, 3510 | 7-14 Days
Switches
CAT-LOFLO-SW |  | Low sample flow switch used to alert users if the sample flow has dropped below 0.1 liters per minute (Old P/N: 2- LoFlo, 3-LoFlo) | 2000, 3000 | Call factory
Tubing
CAT-TUBE-1 |  | Tubing, Polyurethane (Clear) 6.35mm (0.25") OD x 4.23mm (0.166") ID, Thinner wall (0.084") (Old P/N: TIUB07C-XX) Price per foot. |  | 7-14 Days
CAT-3CC-1 |  | Eight-foot length of coiled 1/4 " OD stainless steel tubing for sample cooling loop. Compression fittings are on both ends. |  | Call Factory
CAT-3CC-2 |  | Four-foot length of coiled 1/4 " OD stainless steel tubing for sample cooling loop. Compression fitting on one end. |  | Call Factory
CAT-CAT-CC5 |  | Five-foot length of coiled 1/4 " OD stainless steel tubing for sample cooling loop. Tested sample gas at 99°C in Ambient Environment with flow 0.5 to 1.0 LPM, <1.0 psig with coil output at 27° C |  | Call Factory
CAT-2CC-8 |  | Eight-foot length of coiled 1/4" OD copper tubing used to cool the sample from a maximum of 120 degrees C to ambient. Supplied with compression fittings on both ends and one quick connect adapter. |  | Call Factory
Valves
CAT-NV-SS-2C-2C |  | Stainless Steel Flow Control Needle (Old P/N: 2FLV, 3FLV, ZR-FLV) | 2000, 2500, 2510, 2520, 3000, 3500, 3510, 3520 | 7-14 Days
CAT-3-SOL-E-24 |  | Pair of 24VDC Valves that together with a PLC or other device can be programmed to isolate the oxygen sensor | 3000, 3510 | 7-14 Days
CAT-3-SOL-E-110 |  | Pair of 110VDC Valves that together with a PLC or other device can be programmed to isolate the oxygen sensor | 3000, 3510 | 7-14 Days
CAT-3-SOL-E-220 |  | Pair of 220VDC Valves that together with a PLC or other device can be programmed to isolate the oxygen sensor | 3000, 3510 | 7-14 Days
CAT-3-W-SOL-E-24 |  | One 3-way 24VDC Valve | 2000, 3000, 3510 | Call factory
CAT-B&B |  | Manual Block & Bleed Valve | 3000, 3500, 3510, 3520 | Call factory
Miscellaneous
CAT-13-RSE |  | Remote Oxygen Enclosure with sensor (up to 2 per unit) includes 10 feet of interconnecting cable. Additional cable (13-RCBL-ADD) is $2 per foot. | 1300 | 2 Weeks
CAT-13-RE |  | Replacement remote enclosure with electronics, w/o sensor, includes 10 feet of interconnecting cable. Additional cable (13-RCBL-ADD). | 1300 | 2 Weeks
CAT-13-H&S |  | Horn & Strobe Up to 8 per unit (over 4 each require power supply) includes 10 feet of interconnecting cable. Additional cable (13-HSCBL-ADD) is $2 per foot. | 1300 | 7-14 Days
CAT-1-H&S |  | Horn & Strobe with 10 feet of Cable | 1000, 2000,3000 | 7-14 Days
CAT-CASE-LD1 |  | Light duty instrument carrying case (not suitable to be used with land/air transportation companies). | 2000, 2500, 2510, 2520, 3000, 3500, 3510, 3520 | Call factory
Note: Some Option Prices are on other tabs are controlled by the Accessories and Replacement Sheet.
Effective Date: 4/1/2022 All Prices and Lead Times Subject to Change Without Notice
Note on C101: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Added External Power Supplies for OXY-SEN, 2000, 3000 6/1/2020

## Template
| P/N | QTY | CODE | DESCRIPTION | LIST PRICE | EXTENDED LIST PRICE
Series |  | 1 |  |  |  | 0
Warranty:
Dimensions and Weight:
HS Code: 9027803100
Range | - | Oxygen Range Options
| Select One |  |  |  |  | 0
0
0
0
0
0
0
0
0
0
0
Power | Select One | Input Power Options
0
0
0
0
Mechanical | Select One | Mechanical Configurations
0
0
0
0
0
0
0
Sample Connectors | - | Sample Connectors
| Select One |  |  |  |  | 0
0
0
0
Filter | Select One | Filter
0
0
0
0
Regulator | Select One | Regulator
0
0
0
0
0
Flowmeter | Select One | Flowmeter
0
0
0
Pump | Select One | Pump
0
0
0
0
0
Solenoids | Select One | Solenoids
0
0
0
0
Sensor | Select One | Sensor
0
0
Special | - | Special
| Select One |  |  |  |  | 0
0
0
0
0
0
Output | - | Output
| Select One |  |  |  |  | 0
0
|  | 1 | If the number to the left is less than 13, please select one from each option.
| P/N: | -Select OneSelect OneSelect One-Select OneSelect OneSelect OneSelect OneSelect OneSelect OneSelect One-Select One-Select One |  |  | TOTAL | 0